## 061624_EBSD_DIT_Day14_DIC
Sample ID | Sample # In Batch | Sample Name | Port | Volume (ml) | Start Time | Attempt # | Cell Temp (C) | H2O (‰) | Initial Baseline (ppm) | Final Baseline (ppm) | Peak (ppm) | Integration Time (sec) | Area (net) | Area (net avg) | DIC (uM) | Status | Baseline Std Dev | Wait Btwn Repeat (s) | Wait Btwn Sample (s) | Flush Volume (ml) | Pre-Acid Volume (ml) | Acid Volume (ml) | Injection Speed (sps) | End Analysis - Criteria | End Analysis - Value | Precision | Standard Curve | Gas Flowrate
0001S-1-1 | Single | junk | C (STD) | 0.8 | 2024-06-17 09:45 | 1 | 55.0003 | 8.889 | 2.7197 | 3.4577 | 229.9618 | 62.9971 | 2443.5986 | 2443.5986 | 496.339 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0003A-2-1 | 1A | CRM1.2-15% | C (STD) | 1.2 | 2024-06-17 10:18 | 2 | 55.0003 | 9.2004 | 1.8312 | 2.5731 | 179.579 | 66.9971 | 2313.3186 | 2314.4195 | 304.046 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0003A-2-2 | 1A | CRM1.2-15% | C (STD) | 1.2 | 2024-06-17 10:22 | 2 | 55.0003 | 8.876 | 1.8131 | 2.6013 | 182.7059 | 66.9971 | 2314.3653 | 2314.4195 | 304.046 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0003A-2-3 | 1A | CRM1.2-15% | C (STD) | 1.2 | 2024-06-17 10:26 | 2 | 55.0003 | 8.7701 | 1.8041 | 2.5332 | 182.8632 | 66.9971 | 2315.5747 | 2314.4195 | 304.046 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0003B-1-2 | 1B | CRM1.5-15% | C (STD) | 1.5 | 2024-06-17 10:34 | 1 | 55.001 | 9.006 | 1.8002 | 2.5648 | 200.8475 | 70.9968 | 2895.0873 | 2895.1607 | 304.046 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0003B-1-3 | 1B | CRM1.5-15% | C (STD) | 1.5 | 2024-06-17 10:39 | 1 | 55.001 | 8.9587 | 1.8064 | 2.5811 | 205.2815 | 70.9971 | 2894.5714 | 2895.1607 | 304.046 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0003B-1-4 | 1B | CRM1.5-15% | C (STD) | 1.5 | 2024-06-17 10:43 | 1 | 55.001 | 8.7127 | 1.8611 | 2.5997 | 205.1369 | 70.9971 | 2895.8233 | 2895.1607 | 304.046 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0003C-1-1 | 1C | CRM1.8-15% | C (STD) | 1.8 | 2024-06-17 10:47 | 1 | 55.001 | 8.5309 | 1.8298 | 2.5884 | 224.5118 | 75.9968 | 3476.402 | 3477.1209 | 304.046 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0003C-1-2 | 1C | CRM1.8-15% | C (STD) | 1.8 | 2024-06-17 10:52 | 1 | 55.001 | 8.308 | 1.8993 | 2.6337 | 222.1763 | 75.9968 | 3480.2303 | 3477.1209 | 304.046 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0003C-1-3 | 1C | CRM1.8-15% | C (STD) | 1.8 | 2024-06-17 10:56 | 1 | 55.0003 | 8.4215 | 1.864 | 2.6164 | 222.8813 | 75.9968 | 3474.7304 | 3477.1209 | 304.046 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0004S-1-1 | Single | DIT_06_BC1-1 | D | 1.5 | 2024-06-17 11:01 | 1 | 55.0003 | 8.4694 | 1.8979 | 2.697 | 185.8076 | 69.9968 | 2634.2461 | 2634.2461 | 276.7257 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0005S-1-1 | Single | DIT_06_BC1-2 | D | 1.5 | 2024-06-17 11:05 | 1 | 55.0003 | 8.6021 | 1.8713 | 2.6666 | 184.8303 | 69.9971 | 2649.6948 | 2649.6948 | 278.3434 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0006S-1-1 | Single | DIT_06_BL1-1 | E | 1.5 | 2024-06-17 11:10 | 1 | 55.0003 | 8.6616 | 1.8258 | 2.5556 | 227.4315 | 71.9968 | 3237.9464 | 3237.9464 | 339.8638 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0007S-1-1 | Single | DIT_06_BL1-12 | E | 1.5 | 2024-06-17 11:14 | 1 | 55.0003 | 8.6233 | 1.8243 | 2.6124 | 228.9717 | 71.9971 | 3265.7474 | 3265.7474 | 342.7687 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0008S-1-1 | Single | DIT_06_FC1-1 | F | 1.5 | 2024-06-17 11:19 | 1 | 55.0003 | 8.2498 | 1.7457 | 2.5334 | 181.3063 | 68.9971 | 2562.07 | 2562.07 | 269.1682 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0009S-1-1 | Single | DIT_06_FC1-2 | F | 1.5 | 2024-06-17 11:24 | 1 | 55.0003 | 8.1884 | 1.7274 | 2.4787 | 184.2613 | 70.9971 | 2592.9264 | 2592.9264 | 272.3992 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0010S-1-1 | Single | DIT_06_FL1-1 | G | 1.5 | 2024-06-17 11:29 | 1 | 55.0003 | 8.1399 | 1.7183 | 2.4441 | 147.1214 | 68.9971 | 2074.0775 | 2074.0775 | 218.0707 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0011S-1-1 | Single | DIT_06_FL1-2 | G | 1.5 | 2024-06-17 11:33 | 1 | 55.0003 | 8.2335 | 1.7781 | 2.5026 | 146.997 | 67.9971 | 2092.6938 | 2092.6938 | 220.02 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0012S-1-1 | Single | DIT_06_SC1-1 | H | 1.5 | 2024-06-17 11:38 | 1 | 55.0003 | 8.4025 | 1.7085 | 2.4374 | 197.2449 | 70.9971 | 2723.4757 | 2723.4757 | 286.0689 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0013S-1-1 | Single | DIT_06_SC1-2 | H | 1.5 | 2024-06-17 11:42 | 1 | 55.0003 | 8.5691 | 1.7559 | 2.4935 | 190.7878 | 70.9971 | 2740.4726 | 2740.4726 | 287.8487 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0014S-1-1 | Single | DIT_06_SL1-1 | I | 1.5 | 2024-06-17 11:47 | 1 | 55.0003 | 8.6243 | 1.7918 | 2.5532 | 208.6715 | 70.9968 | 2934.2561 | 2934.2561 | 308.1311 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0015S-1-1 | Single | DIT_06_SL1-2 | I | 1.5 | 2024-06-17 11:51 | 1 | 55.001 | 8.4682 | 1.7089 | 2.4429 | 208.8136 | 71.9968 | 2950.9461 | 2950.9461 | 309.875 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0016S-1-1 | Single | DIT_06_BC2 | D | 1.5 | 2024-06-17 11:56 | 1 | 55.0003 | 8.2558 | 1.6828 | 2.4683 | 189.3032 | 70.9968 | 2679.6371 | 2679.6371 | 281.4786 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0017S-1-1 | Single | DIT_06_BL2 | E | 1.5 | 2024-06-17 12:01 | 1 | 55.001 | 8.1419 | 1.7523 | 2.5353 | 240.7156 | 73.9968 | 3359.4495 | 3359.4495 | 352.5597 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0018S-1-1 | Single | DIT_06_FC2 | F | 1.5 | 2024-06-17 12:06 | 1 | 55.0003 | 8.0978 | 1.7136 | 2.4821 | 189.81 | 69.9971 | 2715.0743 | 2715.0743 | 285.1892 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0019S-1-1 | Single | DIT_06_FL2 | G | 1.5 | 2024-06-17 12:11 | 1 | 55.0003 | 8.1576 | 1.6968 | 2.4263 | 153.8717 | 67.9971 | 2166.1618 | 2166.1618 | 227.7128 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0020S-1-1 | Single | DIT_06_SC2 | H | 1.5 | 2024-06-17 12:16 | 1 | 55.001 | 8.306 | 1.6855 | 2.4143 | 189.203 | 70.9971 | 2755.265 | 2755.265 | 289.3976 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0021S-1-1 | Single | DIT_06_SL2 | I | 1.5 | 2024-06-17 12:21 | 1 | 55.001 | 8.36 | 1.7148 | 2.4805 | 212.9413 | 70.9968 | 3036.8891 | 3036.8891 | 318.8553 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0022S-1-1 | Single | DIT_06_BL3 | E | 1.5 | 2024-06-17 12:26 | 1 | 55.001 | 8.278 | 1.7186 | 2.488 | 247.5113 | 71.9971 | 3418.7711 | 3418.7711 | 358.7582 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0023A-1-1 | 1A |  | C (STD) | 1.2 | 2024-06-17 12:31 | 1 | 55.001 | 7.8418 | 1.6508 | 2.3803 | 186.7744 | 66.9971 | 2362.3573 | 2361.9684 | 304.046 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0023A-1-2 | 1A |  | C (STD) | 1.2 | 2024-06-17 12:35 | 1 | 55.001 | 7.8075 | 1.6768 | 2.4367 | 187.5925 | 66.9971 | 2360.2648 | 2361.9684 | 304.046 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0023A-1-3 | 1A |  | C (STD) | 1.2 | 2024-06-17 12:40 | 1 | 55.0003 | 7.7295 | 1.653 | 2.3961 | 185.9357 | 66.9971 | 2363.2833 | 2361.9684 | 304.046 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0023B-1-1 | 1B |  | C (STD) | 1.5 | 2024-06-17 12:44 | 1 | 55.0003 | 7.8713 | 1.6514 | 2.4306 | 207.328 | 70.9971 | 2941.2413 | 2941.8188 | 304.046 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0023B-1-2 | 1B |  | C (STD) | 1.5 | 2024-06-17 12:48 | 1 | 55.0003 | 8.0605 | 1.6675 | 2.4536 | 207.3095 | 70.9968 | 2942.6891 | 2941.8188 | 304.046 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0023B-1-3 | 1B |  | C (STD) | 1.5 | 2024-06-17 12:52 | 1 | 55.0005 | 8.119 | 1.7411 | 2.4908 | 208.4626 | 70.9968 | 2941.5258 | 2941.8188 | 304.046 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0023C-1-1 | 1C |  | C (STD) | 1.8 | 2024-06-17 12:57 | 1 | 55.001 | 8.1906 | 1.652 | 2.3897 | 226.3593 | 75.9968 | 3527.13 | 3525.3795 | 304.046 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0023C-1-2 | 1C |  | C (STD) | 1.8 | 2024-06-17 13:01 | 1 | 55.001 | 8.0972 | 1.6505 | 2.4351 | 226.1586 | 75.9965 | 3523.367 | 3525.3795 | 304.046 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0023C-1-3 | 1C |  | C (STD) | 1.8 | 2024-06-17 13:06 | 1 | 55.001 | 7.8749 | 1.6342 | 2.4023 | 224.969 | 75.9968 | 3525.6415 | 3525.3795 | 304.046 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250

## Processing
Areas selected for Ave's & SDs
--> scroll to R+ columns to see data processing. | [16 empty] | DIC project: | Testing DIC |  |  |  | CRM Batch | FakeCRM (seawater) |  | CRM Density (kgL-1) | 1.0016 |  | Drift Correction Calculations
[17 empty] | Run date: | MM/DD/YYYY |  |  |  | CRM DIC (umolkg-1) | 303.6 |  | CRM DIC (umolL-1) | 304.0716
[17 empty] | Operator: | MCR |  |  |  | CRM Salinity | 4.995
[17 empty] | Acid batch: | Date made on jar |  |  |  | Temperature (Avg_Rm) | 22
[17 empty] | Processed by: | MCR
Calibration data (CRMs) | [16 empty] | Morning CRM:
Sample ID | Sample # In Batch | Sample Name | Port | Volume (ml) | Start Time | Attempt # | Cell Temp (C) | H2O (‰) | Initial Baseline (ppm) | Final Baseline (ppm) | Peak (ppm) | Integration Time (sec) | Area (net) | Area (net avg) | DIC (uM) | Status | Date | Time | Date/Time | Sample | Volume (ml) | Area | Volume | Area1 | Stdev
0003A-2-1 | 1A | CRM1.2-15% | C (STD) | 1.2 | 2024-06-17 10:18 | 2 | 55.0003 | 9.2004 | 1.8312 | 2.5731 | 179.579 | 66.9971 | 2313.3186 | 2314.4195 | 304.046 | Valid | 2024-06-17 | 10:18 | 2024-06-17 10:18 | CRM1.2-15% | 1.2 | 2313.3186 | 1.2 | 2314.4195
0003A-2-2 | 1A | CRM1.2-15% | C (STD) | 1.2 | 2024-06-17 10:22 | 2 | 55.0003 | 8.876 | 1.8131 | 2.6013 | 182.7059 | 66.9971 | 2314.3653 | 2314.4195 | 304.046 | Valid | 2024-06-17 | 10:22 | 2024-06-17 10:22 | CRM1.2-15% | 1.2 | 2314.3653 | 1.5 | 2895.1607
0003A-2-3 | 1A | CRM1.2-15% | C (STD) | 1.2 | 2024-06-17 10:26 | 2 | 55.0003 | 8.7701 | 1.8041 | 2.5332 | 182.8632 | 66.9971 | 2315.5747 | 2314.4195 | 304.046 | Valid | 2024-06-17 | 10:26 | 2024-06-17 10:26 | CRM1.2-15% | 1.2 | 2315.5747 | 1.8 | 3477.1209
0003B-1-2 | 1B | CRM1.5-15% | C (STD) | 1.5 | 2024-06-17 10:34 | 1 | 55.001 | 9.006 | 1.8002 | 2.5648 | 200.8475 | 70.9968 | 2895.0873 | 2895.1607 | 304.046 | Valid | 2024-06-17 | 10:34 | 2024-06-17 10:34 | CRM1.5-15% | 1.5 | 2895.0873
0003B-1-3 | 1B | CRM1.5-15% | C (STD) | 1.5 | 2024-06-17 10:39 | 1 | 55.001 | 8.9587 | 1.8064 | 2.5811 | 205.2815 | 70.9971 | 2894.5714 | 2895.1607 | 304.046 | Valid | 2024-06-17 | 10:39 | 2024-06-17 10:39 | CRM1.5-15% | 1.5 | 2894.5714
0003B-1-4 | 1B | CRM1.5-15% | C (STD) | 1.5 | 2024-06-17 10:43 | 1 | 55.001 | 8.7127 | 1.8611 | 2.5997 | 205.1369 | 70.9971 | 2895.8233 | 2895.1607 | 304.046 | Valid | 2024-06-17 | 10:43 | 2024-06-17 10:43 | CRM1.5-15% | 1.5 | 2895.8233
0003C-1-1 | 1C | CRM1.8-15% | C (STD) | 1.8 | 2024-06-17 10:47 | 1 | 55.001 | 8.5309 | 1.8298 | 2.5884 | 224.5118 | 75.9968 | 3476.402 | 3477.1209 | 304.046 | Valid | 2024-06-17 | 10:47 | 2024-06-17 10:47 | CRM1.8-15% | 1.8 | 3476.402
0003C-1-2 | 1C | CRM1.8-15% | C (STD) | 1.8 | 2024-06-17 10:52 | 1 | 55.001 | 8.308 | 1.8993 | 2.6337 | 222.1763 | 75.9968 | 3480.2303 | 3477.1209 | 304.046 | Valid | 2024-06-17 | 10:52 | 2024-06-17 10:52 | CRM1.8-15% | 1.8 | 3480.2303
0003C-1-3 | 1C | CRM1.8-15% | C (STD) | 1.8 | 2024-06-17 10:56 | 1 | 55.0003 | 8.4215 | 1.864 | 2.6164 | 222.8813 | 75.9968 | 3474.7304 | 3477.1209 | 304.046 | Valid | 2024-06-17 | 10:56 | 2024-06-17 10:56 | CRM1.8-15% | 1.8 | 3474.7304
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | 1st CRM
[23 empty] | End Time | Slope1 | Intercept1 | R2
[23 empty] | 10:43 | 0.00051604 | 0.0057731 | 1
Last CRM
[23 empty] | End Time | Slope2 | Intercept2 | R2
[23 empty] | 12:40 | 0.00051572 | -0.017802 | 1
Drift Correction Parameters
[23 empty] | dTime | dSlope | dIntercept
[23 empty] | 1:57 | -3.1636e-07 | -0.023575
Sample ID | Sample # In Batch | Sample Name | Port | Volume (ml) | Start Time | Attempt # | Cell Temp (C) | H2O (‰) | Initial Baseline (ppm) | Final Baseline (ppm) | Peak (ppm) | Integration Time (sec) | Area (net) | Area (net avg) | DIC (uM) | Status | Mid-Day: | [5 empty] | Volume | Area1 | Stdev |  | Volume | Area1 | Area2 | Area3 | Difference in Area (A1-A3)
0023A-1-1 | 1A |  | C (STD) | 1.2 | 2024-06-17 12:31 | 1 | 55.001 | 7.8418 | 1.6508 | 2.3803 | 186.7744 | 66.9971 | 2362.3573 | 2361.9684 | 304.046 | Valid | 2024-06-17 | 12:31 | 2024-06-17 12:31 | 0 | 1.2 | 2362.3573 | 1.2 | 2361.9684 |  |  | 1.2 | 2314.4195 | 2361.9684 | 2361.9684 | -47.5489
0023A-1-2 | 1A |  | C (STD) | 1.2 | 2024-06-17 12:35 | 1 | 55.001 | 7.8075 | 1.6768 | 2.4367 | 187.5925 | 66.9971 | 2360.2648 | 2361.9684 | 304.046 | Valid | 2024-06-17 | 12:35 | 2024-06-17 12:35 | 0 | 1.2 | 2360.2648 | 1.5 | 2941.8188 | 337.0177 |  | 1.5 | 2895.1607 | 2941.8188 | 2941.8188 | -46.6581
0023A-1-3 | 1A |  | C (STD) | 1.2 | 2024-06-17 12:40 | 1 | 55.0003 | 7.7295 | 1.653 | 2.3961 | 185.9357 | 66.9971 | 2363.2833 | 2361.9684 | 304.046 | Valid | 2024-06-17 | 12:40 | 2024-06-17 12:40 | 0 | 1.2 | 2363.2833 | 1.8 | 3525.3795 | 2493.005 |  | 1.8 | 3477.1209 | 3525.3795 | 3525.3795 | -48.2586
0023B-1-1 | 1B |  | C (STD) | 1.5 | 2024-06-17 12:44 | 1 | 55.0003 | 7.8713 | 1.6514 | 2.4306 | 207.328 | 70.9971 | 2941.2413 | 2941.8188 | 304.046 | Valid | 2024-06-17 | 12:44 | 2024-06-17 12:44 | 0 | 1.5 | 2941.2413
0023B-1-2 | 1B |  | C (STD) | 1.5 | 2024-06-17 12:48 | 1 | 55.0003 | 8.0605 | 1.6675 | 2.4536 | 207.3095 | 70.9968 | 2942.6891 | 2941.8188 | 304.046 | Valid | 2024-06-17 | 12:48 | 2024-06-17 12:48 | 0 | 1.5 | 2942.6891
0023B-1-3 | 1B |  | C (STD) | 1.5 | 2024-06-17 12:52 | 1 | 55.0005 | 8.119 | 1.7411 | 2.4908 | 208.4626 | 70.9968 | 2941.5258 | 2941.8188 | 304.046 | Valid | 2024-06-17 | 12:52 | 2024-06-17 12:52 | 0 | 1.5 | 2941.5258
0023C-1-1 | 1C |  | C (STD) | 1.8 | 2024-06-17 12:57 | 1 | 55.001 | 8.1906 | 1.652 | 2.3897 | 226.3593 | 75.9968 | 3527.13 | 3525.3795 | 304.046 | Valid | 2024-06-17 | 12:57 | 2024-06-17 12:57 | 0 | 1.8 | 3527.13
0023C-1-2 | 1C |  | C (STD) | 1.8 | 2024-06-17 13:01 | 1 | 55.001 | 8.0972 | 1.6505 | 2.4351 | 226.1586 | 75.9965 | 3523.367 | 3525.3795 | 304.046 | Valid | 2024-06-17 | 13:01 | 2024-06-17 13:01 | 0 | 1.8 | 3523.367
0023C-1-3 | 1C |  | C (STD) | 1.8 | 2024-06-17 13:06 | 1 | 55.001 | 7.8749 | 1.6342 | 2.4023 | 224.969 | 75.9968 | 3525.6415 | 3525.3795 | 304.046 | Valid | 2024-06-17 | 13:06 | 2024-06-17 13:06 | 0 | 1.8 | 3525.6415
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
Sample ID | Sample # In Batch | Sample Name | Port | Volume (ml) | Start Time | Attempt # | Cell Temp (C) | H2O (‰) | Initial Baseline (ppm) | Final Baseline (ppm) | Peak (ppm) | Integration Time (sec) | Area (net) | Area (net avg) | DIC (uM) | Status | Evening CRM: | [5 empty] | Volume | Area1 | Stdev
Evening CRM here: | [16 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | 1.2 | 0 | 0
Columns A - Q from Raw sheet | [16 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | 1.5 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | 1.8 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
Samples
Sample ID | Sample # In Batch | Sample Name | Port | Volume (ml) | Start Time | Attempt # | Cell Temp (C) | H2O (‰) | Initial Baseline (ppm) | Final Baseline (ppm) | Peak (ppm) | Integration Time (sec) | Area (net) | Area (net avg) | DIC (uM) | Status | Date | Time | Date/Time | Sample | Volume (ml) | Area | CRM Volume (ml) | Drift corrected CRM V (ml) | DIC Content (1x10-9 mol) | DIC (umolL-1) | Rm Temp | Salinity | Density (kgL-1) | DIC' (umolkg-1) | Vol. HgCl2 (uL) | Vol. sample (mL) | HgCl2 CF | DICc (umolkg-1) | DIC_avg (umolkg-1) | DIC_stdev (umolkg-1) | n = | DIC_avg (umolL-1) | DIC_stdev (umolL-1) | n = | Sample
0004S-1-1 | Single | DIT_06_BC1-1 | D | 1.5 | 2024-06-17 11:01 | 1 | 55.0003 | 8.4694 | 1.8979 | 2.697 | 185.8076 | 69.9968 | 2634.2461 | 2634.2461 | 276.7257 | Valid | 2024-06-17 | 11:01 | 2024-06-17 11:01 | DIT_06_BC1-1 | 1.5 | 2634.2461 | 1.3651 | 1.3613 | 413.9379 | 275.9586 | 22 | 1.65 | 0.99903 | 276.2277 | 0 | 250 | 1 | 276.2277 | 277.5175 | 1.2197 |  | 277.5175 | 1.2197 |  | BC
0005S-1-1 | Single | DIT_06_BC1-2 | D | 1.5 | 2024-06-17 11:05 | 1 | 55.0003 | 8.6021 | 1.8713 | 2.6666 | 184.8303 | 69.9971 | 2649.6948 | 2649.6948 | 278.3434 | Valid | 2024-06-17 | 11:05 | 2024-06-17 11:05 | DIT_06_BC1-2 | 1.5 | 2649.6948 | 1.3731 | 1.3684 | 416.1033 | 277.4022 | 22 | 1.65 | 0.99903 | 277.6727 | 0 | 250 | 1 | 277.6727
0016S-1-1 | Single | DIT_06_BC2 | D | 1.5 | 2024-06-17 11:56 | 1 | 55.0003 | 8.2558 | 1.6828 | 2.4683 | 189.3032 | 70.9968 | 2679.6371 | 2679.6371 | 281.4786 | Valid | 2024-06-17 | 11:56 | 2024-06-17 11:56 | DIT_06_BC2 | 1.5 | 2679.6371 | 1.3886 | 1.3733 | 417.5712 | 278.3808 | 22 | 1.65 | 0.99903 | 278.6522 | 0 | 250 | 1 | 278.6522
0006S-1-1 | Single | DIT_06_BL1-1 | E | 1.5 | 2024-06-17 11:10 | 1 | 55.0003 | 8.6616 | 1.8258 | 2.5556 | 227.4315 | 71.9968 | 3237.9464 | 3237.9464 | 339.8638 | Valid | 2024-06-17 | 11:10 | 2024-06-17 11:10 | DIT_06_BL1-1 | 1.5 | 3237.9464 | 1.6767 | 1.6709 | 508.0744 | 338.7163 | 22 | 1.65 | 0.99903 | 339.0465 | 0 | 250 | 1 | 339.0465 | 346.077 | 6.0886 |  | 346.077 | 6.0886
0017S-1-1 | Single | DIT_06_BL2 | E | 1.5 | 2024-06-17 12:01 | 1 | 55.001 | 8.1419 | 1.7523 | 2.5353 | 240.7156 | 73.9968 | 3359.4495 | 3359.4495 | 352.5597 | Valid | 2024-06-17 | 12:01 | 2024-06-17 12:01 | DIT_06_BL2 | 1.5 | 3359.4495 | 1.7394 | 1.7229 | 523.8776 | 349.2518 | 22 | 1.65 | 0.99903 | 349.5923 | 0 | 250 | 1 | 349.5923
0022S-1-1 | Single | DIT_06_BL3 | E | 1.5 | 2024-06-17 12:26 | 1 | 55.001 | 8.278 | 1.7186 | 2.488 | 247.5113 | 71.9971 | 3418.7711 | 3418.7711 | 358.7582 | Valid | 2024-06-17 | 12:01 | 2024-06-17 12:01 | DIT_06_BL2 | 1.5 | 3359.4495 | 1.7394 | 1.7229 | 523.8776 | 349.2518 | 22 | 1.65 | 0.99903 | 349.5923 | 0 | 250 | 1 | 349.5923 | [6 empty] | BL
0008S-1-1 | Single | DIT_06_FC1-1 | F | 1.5 | 2024-06-17 11:19 | 1 | 55.0003 | 8.2498 | 1.7457 | 2.5334 | 181.3063 | 68.9971 | 2562.07 | 2562.07 | 269.1682 | Valid | 2024-06-17 | 12:26 | 2024-06-17 12:26 | DIT_06_BL3 | 1.5 | 3418.7711 | 1.77 | 1.7482 | 531.5635 | 354.3757 | 22 | 0 | 0.99777 | 355.1666 | 0 | 250 | 1 | 355.1666 | 298.2296 | 49.3327 |  | 298.2296 | 49.3327
0009S-1-1 | Single | DIT_06_FC1-2 | F | 1.5 | 2024-06-17 11:24 | 1 | 55.0003 | 8.1884 | 1.7274 | 2.4787 | 184.2613 | 70.9971 | 2592.9264 | 2592.9264 | 272.3992 | Valid | 2024-06-17 | 11:19 | 2024-06-17 11:19 | DIT_06_FC1-1 | 1.5 | 2562.07 | 1.3279 | 1.3202 | 401.4497 | 267.6331 | 22 | 0 | 0.99777 | 268.2305 | 0 | 250 | 1 | 268.2305
0018S-1-1 | Single | DIT_06_FC2 | F | 1.5 | 2024-06-17 12:06 | 1 | 55.0003 | 8.0978 | 1.7136 | 2.4821 | 189.81 | 69.9971 | 2715.0743 | 2715.0743 | 285.1892 | Valid | 2024-06-17 | 11:24 | 2024-06-17 11:24 | DIT_06_FC1-2 | 1.5 | 2592.9264 | 1.3438 | 1.3353 | 406.0312 | 270.6875 | 22 | 0 | 0.99777 | 271.2916 | 0 | 250 | 1 | 271.2916 | [6 empty] | FC
0010S-1-1 | Single | DIT_06_FL1-1 | G | 1.5 | 2024-06-17 11:29 | 1 | 55.0003 | 8.1399 | 1.7183 | 2.4441 | 147.1214 | 68.9971 | 2074.0775 | 2074.0775 | 218.0707 | Valid | 2024-06-17 | 12:06 | 2024-06-17 12:06 | DIT_06_FC2 | 1.5 | 2715.0743 | 1.4069 | 1.3894 | 422.485 | 281.6567 | 22 | 0 | 0.99777 | 282.2853 | 0 | 250 | 1 | 282.2853 | 239.1508 | 37.3662 |  | 239.1508 | 37.3662
0011S-1-1 | Single | DIT_06_FL1-2 | G | 1.5 | 2024-06-17 11:33 | 1 | 55.0003 | 8.2335 | 1.7781 | 2.5026 | 146.997 | 67.9971 | 2092.6938 | 2092.6938 | 220.02 | Valid | 2024-06-17 | 11:29 | 2024-06-17 11:29 | DIT_06_FL1-1 | 1.5 | 2074.0775 | 1.0761 | 1.0666 | 324.3159 | 216.2106 | 22 | 0 | 0.99777 | 216.6932 | 0 | 250 | 1 | 216.6932
0019S-1-1 | Single | DIT_06_FL2 | G | 1.5 | 2024-06-17 12:11 | 1 | 55.0003 | 8.1576 | 1.6968 | 2.4263 | 153.8717 | 67.9971 | 2166.1618 | 2166.1618 | 227.7128 | Valid | 2024-06-17 | 11:33 | 2024-06-17 11:33 | DIT_06_FL1-2 | 1.5 | 2092.6938 | 1.0857 | 1.0753 | 326.9808 | 217.9872 | 22 | 0 | 0.99777 | 218.4738 | 0 | 250 | 1 | 218.4738
0012S-1-1 | Single | DIT_06_SC1-1 | H | 1.5 | 2024-06-17 11:38 | 1 | 55.0003 | 8.4025 | 1.7085 | 2.4374 | 197.2449 | 70.9971 | 2723.4757 | 2723.4757 | 286.0689 | Valid | 2024-06-17 | 12:11 | 2024-06-17 12:11 | DIT_06_FL2 | 1.5 | 2166.1618 | 1.1236 | 1.1052 | 336.0733 | 224.0489 | 22 | 3.3 | 1.0003 | 223.9875 | 0 | 250 | 1 | 223.9875 | 264.307 | 34.9269 |  | 264.307 | 34.9269 |  | FL
0013S-1-1 | Single | DIT_06_SC1-2 | H | 1.5 | 2024-06-17 11:42 | 1 | 55.0003 | 8.5691 | 1.7559 | 2.4935 | 190.7878 | 70.9971 | 2740.4726 | 2740.4726 | 287.8487 | Valid | 2024-06-17 | 11:38 | 2024-06-17 11:38 | DIT_06_SC1-1 | 1.5 | 2723.4757 | 1.4112 | 1.3997 | 425.6147 | 283.7431 | 22 | 3.3 | 1.0003 | 283.6655 | 0 | 250 | 1 | 283.6655
0020S-1-1 | Single | DIT_06_SC2 | H | 1.5 | 2024-06-17 12:16 | 1 | 55.001 | 8.306 | 1.6855 | 2.4143 | 189.203 | 70.9971 | 2755.265 | 2755.265 | 289.3976 | Valid | 2024-06-17 | 11:42 | 2024-06-17 11:42 | DIT_06_SC1-2 | 1.5 | 2740.4726 | 1.42 | 1.4076 | 428.019 | 285.346 | 22 | 3.3 | 1.0003 | 285.2679 | 0 | 250 | 1 | 285.2679
0014S-1-1 | Single | DIT_06_SL1-1 | I | 1.5 | 2024-06-17 11:47 | 1 | 55.0003 | 8.6243 | 1.7918 | 2.5532 | 208.6715 | 70.9968 | 2934.2561 | 2934.2561 | 308.1311 | Valid | 2024-06-17 | 12:16 | 2024-06-17 12:16 | DIT_06_SC2 | 1.5 | 2755.265 | 1.4276 | 1.4081 | 428.1501 | 285.4334 | 22 | 3.3 | 1.0003 | 285.3553 | 0 | 250 | 1 | 285.3553 | 299.1833 | 12.0011 |  | 299.1833 | 12.0011 |  | SC
0015S-1-1 | Single | DIT_06_SL1-2 | I | 1.5 | 2024-06-17 11:51 | 1 | 55.001 | 8.4682 | 1.7089 | 2.4429 | 208.8136 | 71.9968 | 2950.9461 | 2950.9461 | 309.875 | Valid | 2024-06-17 | 11:47 | 2024-06-17 11:47 | DIT_06_SL1-1 | 1.5 | 2934.2561 | 1.52 | 1.5065 | 458.0946 | 305.3964 | 22 | 3.3 | 1.0003 | 305.3128 | 0 | 250 | 1 | 305.3128
0021S-1-1 | Single | DIT_06_SL2 | I | 1.5 | 2024-06-17 12:21 | 1 | 55.001 | 8.36 | 1.7148 | 2.4805 | 212.9413 | 70.9968 | 3036.8891 | 3036.8891 | 318.8553 | Valid | 2024-06-17 | 11:51 | 2024-06-17 11:51 | DIT_06_SL1-2 | 1.5 | 2950.9461 | 1.5286 | 1.5143 | 460.4489 | 306.9659 | 22 | 3.3 | 1.0003 | 306.8819 | 0 | 250 | 1 | 306.8819
Formulas:
Acid batch: = INT([Date/Time])
Date/Time = [Start Time]
Date/Time = [Start Time, row above]

## Summary
DIC_avg (umolkg-1) | DIC_stdev (umolkg-1) | n = | DIC_avg (umolL-1) | DIC_stdev (umolL-1) | n = | Sample
263.0507 | 8.1722 |  | 263.0507 | 8.1722 |  | BC
323.9793 | 13.9847 |  | 323.9793 | 13.9847 |  | BL
260.0297 | 11.9431 |  | 260.0297 | 11.9431 |  | FC
208.1297 | 7.9755 |  | 208.1297 | 7.9755 |  | FL
277.9073 | 10.0341 |  | 277.9073 | 10.0341 |  | SC
298.9187 | 15.421 |  | 298.9187 | 15.421 |  | SL