## 060324_EBSD_DIT_Day0_DIC
Sample ID;Sample # In Batch;Sample Name;Port;Volume (ml);Start Time;Attempt #;Cell Temp (C);H2O (‰);Initial Baseline (ppm);Final Baseline (ppm);Peak (ppm);Integration Time (sec);Area (net);Area (net avg);DIC (uM);Status;;Baseline Std Dev;Wait Btwn Repeat (s);Wait Btwn Sample (s);Flush Volume (ml);Pre-Acid Volume (ml);Acid Volume (ml);Injection Speed (sps);End Analysis - Criteria;End Analysis - Value;Precision;Standard Curve;Gas Flowrate
0001S-1-1;Single;junkCRM;C (STD);0.800000;06/03/24 12:40:12;1;55.001000;10.383661;2.713496;3.481686;917.069170;81.996498;9562.780158;9562.780158;2114.515413;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0002A-1-1;1A;CRM1.2-10%;C (STD);1.200000;06/03/24 12:44:26;1;55.000600;10.778786;2.400731;3.183784;362.356290;73.996816;4158.441968;0.000000;202.359984;Failed;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0002A-1-2;1A;CRM1.2-10%;C (STD);1.200000;06/03/24 12:48:36;1;55.001000;10.789429;2.366206;3.150300;124.700620;62.997455;1540.344188;0.000000;202.359984;Failed;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0002A-1-3;1A;CRM1.2-10%;C (STD);1.200000;06/03/24 12:52:36;1;55.001000;10.645471;2.372827;3.124689;121.403830;61.997443;1521.136700;0.000000;202.359984;Failed;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0002A-1-4;1A;CRM1.2-10%;C (STD);1.200000;06/03/24 12:56:36;1;55.001000;10.369383;2.255865;2.976107;121.290050;62.997449;1518.871493;0.000000;202.359984;Failed;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0002A-1-5;1A;CRM1.2-10%;C (STD);1.200000;06/03/24 13:00:36;1;55.001000;10.167141;2.229641;2.956323;123.538640;62.997445;1516.296503;0.000000;202.359984;Failed;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0002A-2-1;1A;CRM1.2-10%;C (STD);1.200000;06/03/24 13:04:37;2;55.000300;9.915408;2.223295;2.939042;122.242670;61.997128;1514.536529;1514.698100;202.359984;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0002A-2-2;1A;CRM1.2-10%;C (STD);1.200000;06/03/24 13:08:37;2;55.000300;9.776265;2.231249;2.943271;121.672570;62.997129;1516.096044;1514.698100;202.359984;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0002A-2-3;1A;CRM1.2-10%;C (STD);1.200000;06/03/24 13:12:37;2;55.001000;9.563788;2.187475;2.972959;120.404050;61.997455;1513.461726;1514.698100;202.359984;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0002B-1-1;1B;CRM1.5-10%;C (STD);1.500000;06/03/24 13:16:43;1;55.001000;9.502209;2.118138;2.916814;137.858620;65.997128;1884.153197;0.000000;202.359984;Failed;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0002B-1-2;1B;CRM1.5-10%;C (STD);1.500000;06/03/24 13:20:53;1;55.001000;9.271573;2.094337;2.847825;136.272610;65.997129;1887.464208;0.000000;202.359984;Failed;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0002B-1-3;1B;CRM1.5-10%;C (STD);1.500000;06/03/24 13:25:03;1;55.001000;9.276360;2.342774;3.106481;134.223310;64.997446;1879.219359;0.000000;202.359984;Failed;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0002B-1-4;1B;CRM1.5-10%;C (STD);1.500000;06/03/24 13:29:13;1;55.001000;9.148777;2.071671;2.796284;136.335490;66.997132;1880.061612;0.000000;202.359984;Failed;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0002B-1-5;1B;CRM1.5-10%;C (STD);1.500000;06/03/24 13:33:24;1;55.001000;8.984834;2.408052;3.172681;136.141010;64.997134;1884.121340;0.000000;202.359984;Failed;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0002B-2-1;1B;CRM1.5-10%;C (STD);1.500000;06/03/24 13:37:32;2;55.001000;8.924097;2.165494;2.923148;137.193410;64.997448;1887.586944;1893.669689;202.359984;Excluded;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0002B-2-2;1B;CRM1.5-10%;C (STD);1.500000;06/03/24 13:41:44;2;55.000300;8.755013;2.121332;2.833693;136.906340;65.997134;1892.826844;1893.669689;202.359984;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0002B-2-3;1B;CRM1.5-10%;C (STD);1.500000;06/03/24 13:45:53;2;55.000300;8.686223;2.036235;2.795050;136.947830;65.997128;1895.075215;1893.669689;202.359984;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0002B-2-4;1B;CRM1.5-10%;C (STD);1.500000;06/03/24 13:50:03;2;55.000300;8.741866;2.214889;2.946979;136.007900;65.997130;1893.107007;1893.669689;202.359984;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0002C-1-1;1C;CRM1.8-10%;C (STD);1.800000;06/03/24 13:54:20;1;55.000300;8.691375;2.076933;2.838053;145.581340;68.997127;2264.188991;2264.704539;202.359984;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0002C-1-2;1C;CRM1.8-10%;C (STD);1.800000;06/03/24 13:58:40;1;55.000600;8.746801;2.090127;2.856308;146.610930;70.997140;2273.602864;2264.704539;202.359984;Excluded;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0002C-1-3;1C;CRM1.8-10%;C (STD);1.800000;06/03/24 14:02:59;1;55.000300;8.702854;2.091533;2.884434;146.947910;69.997127;2263.505315;2264.704539;202.359984;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0002C-1-4;1C;CRM1.8-10%;C (STD);1.800000;06/03/24 14:07:20;1;55.000300;8.663761;2.094319;2.805197;149.308880;69.997123;2266.419311;2264.704539;202.359984;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0003S-1-1;2;DIT_06_SC-1;D;1.500000;06/03/24 14:12:32;1;55.000300;8.588715;2.023805;2.749322;83.366154;63.997451;1205.442098;1204.963794;128.810136;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0003S-1-2;2;DIT_06_SC-1;D;1.500000;06/03/24 14:16:42;1;55.000300;8.734513;2.149282;2.857503;84.238149;64.997135;1204.033653;1204.963794;128.810136;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0003S-1-3;2;DIT_06_SC-1;D;1.500000;06/03/24 14:20:51;1;55.000300;8.691327;2.036141;2.826300;83.848598;63.997128;1200.643929;1204.963794;128.810136;Excluded;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0003S-1-4;2;DIT_06_SC-1;D;1.500000;06/03/24 14:25:00;1;55.000300;8.719387;1.992631;2.762929;83.471816;63.997138;1199.284905;1204.963794;128.810136;Excluded;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0003S-1-5;2;DIT_06_SC-1;D;1.500000;06/03/24 14:29:08;1;55.000500;8.737163;2.027069;2.761119;82.865131;64.997130;1205.415631;1204.963794;128.810136;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0004S-1-1;Single;DIT_)1_SL1-1;D;1.500000;06/03/24 14:34:17;1;55.000300;8.745941;2.035400;2.775613;104.209180;64.997450;1483.391175;1483.391175;158.544587;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0005S-1-1;Single;DIT_01_SL1-2;D;1.500000;06/03/24 14:38:53;1;55.000300;8.684355;2.145909;2.895894;107.828570;65.997134;1530.341150;1530.341150;163.558575;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0006S-1-1;Single;DIT_01_SL1-3;D;1.500000;06/03/24 14:42:54;1;55.000300;8.743976;2.371996;3.109931;107.435990;65.997131;1529.622926;1529.622926;163.481873;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0007S-1-1;Single;DIT_01_SL1-4;D;1.500000;06/03/24 14:46:53;1;55.000300;8.742013;2.222709;2.996936;106.777150;63.997140;1526.321040;1526.321040;163.129250;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0008A-1-1;1A;CRM1.2-5%;C (STD);1.200000;06/03/24 14:51:44;1;55.000300;8.536454;1.977664;2.722339;70.851454;58.997452;872.051999;872.164958;101.093734;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0008A-1-2;1A;CRM1.2-5%;C (STD);1.200000;06/03/24 14:55:40;1;55.000300;8.563707;1.974523;2.770292;70.808796;58.997770;869.251677;872.164958;101.093734;Excluded;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0008A-1-3;1A;CRM1.2-5%;C (STD);1.200000;06/03/24 14:59:37;1;55.000300;8.459906;1.965275;2.756114;70.092596;58.997445;868.702075;872.164958;101.093734;Excluded;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0008A-1-4;1A;CRM1.2-5%;C (STD);1.200000;06/03/24 15:03:34;1;55.000300;8.408939;1.954413;2.642140;70.833930;58.997462;872.934790;872.164958;101.093734;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0008A-1-5;1A;CRM1.2-5%;C (STD);1.200000;06/03/24 15:07:33;1;55.000300;8.440504;2.101280;2.832754;69.598348;58.997455;871.508086;872.164958;101.093734;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0008B-1-1;1B;CRM1.5-5%;C (STD);1.500000;06/03/24 15:11:35;1;55.000300;8.521694;2.039940;2.777589;78.097650;62.997452;1077.603316;1076.788568;101.093734;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0008B-1-2;1B;CRM1.5-5%;C (STD);1.500000;06/03/24 15:15:43;1;55.000300;8.479608;2.016883;2.730231;78.507902;62.997452;1077.150048;1076.788568;101.093734;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0008B-1-3;1B;CRM1.5-5%;C (STD);1.500000;06/03/24 15:19:49;1;55.000300;8.424330;1.987222;2.764884;78.476639;61.997450;1075.612342;1076.788568;101.093734;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0008C-1-1;1C;CRM1.8-5%;C (STD);1.800000;06/03/24 15:24:00;1;55.000300;8.481237;2.096028;2.855329;82.580622;66.997126;1287.139006;1285.936094;101.093734;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0008C-1-2;1C;CRM1.8-5%;C (STD);1.800000;06/03/24 15:28:18;1;55.000800;8.504322;2.045482;2.799694;84.271288;65.997449;1285.758576;1285.936094;101.093734;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0008C-1-3;1C;CRM1.8-5%;C (STD);1.800000;06/03/24 15:32:32;1;55.000300;8.453120;2.185767;2.885024;84.872197;65.997456;1284.910702;1285.936094;101.093734;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0009S-1-1;2;DIT_01_BC1;D;1.500000;06/03/24 15:37:38;1;55.001000;8.429357;2.085694;2.781790;78.584270;63.997132;1118.926135;1115.353106;104.821852;Excluded;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0009S-1-2;2;DIT_01_BC1;D;1.500000;06/03/24 15:41:46;1;55.001000;8.390138;2.039880;2.729579;79.454573;63.997134;1116.123394;1115.353106;104.821852;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0009S-1-3;2;DIT_01_BC1;D;1.500000;06/03/24 15:45:54;1;55.001000;8.365846;1.980867;2.746055;77.914133;63.997441;1115.647451;1115.353106;104.821852;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0009S-1-4;2;DIT_01_BC1;D;1.500000;06/03/24 15:50:03;1;55.001000;8.465872;2.045723;2.827127;79.150177;63.997450;1112.379365;1115.353106;104.821852;Excluded;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0009S-1-5;2;DIT_01_BC1;D;1.500000;06/03/24 15:54:11;1;55.000500;8.486226;2.098365;2.854803;77.871282;63.997453;1114.288475;1115.353106;104.821852;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0010S-1-1;3;DIT_01_BL1;E;1.500000;06/03/24 15:59:15;1;55.000300;8.444762;1.976467;2.709092;66.622430;62.997130;938.078864;946.372078;88.207352;Excluded;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0010S-1-2;3;DIT_01_BL1;E;1.500000;06/03/24 16:03:22;1;55.001000;8.467720;2.057980;2.829816;66.074944;61.997126;939.047923;946.372078;88.207352;Excluded;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0010S-1-3;3;DIT_01_BL1;E;1.500000;06/03/24 16:07:31;1;55.001000;8.416184;2.143913;2.845921;66.346812;63.997147;946.909095;946.372078;88.207352;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0010S-1-4;3;DIT_01_BL1;E;1.500000;06/03/24 16:11:38;1;55.001000;8.432029;2.074162;2.851727;66.730015;61.997135;945.511264;946.372078;88.207352;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0010S-1-5;3;DIT_01_BL1;E;1.500000;06/03/24 16:15:45;1;55.000800;8.345198;1.956784;2.715222;67.269111;62.997130;946.695873;946.372078;88.207352;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0011S-1-1;4;DIT_01_FC1;F;1.500000;06/03/24 16:20:49;1;55.001000;8.461579;2.102300;2.837326;67.996530;62.997454;977.455448;985.279526;92.051776;Excluded;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0011S-1-2;4;DIT_01_FC1;F;1.500000;06/03/24 16:24:56;1;55.001000;8.474927;2.085104;2.876537;68.574133;62.997455;984.404460;985.279526;92.051776;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0011S-1-3;4;DIT_01_FC1;F;1.500000;06/03/24 16:29:03;1;55.001000;8.448135;2.367467;3.131027;69.929951;61.997450;983.353579;985.279526;92.051776;Excluded;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0011S-1-4;4;DIT_01_FC1;F;1.500000;06/03/24 16:33:09;1;55.001000;8.515279;2.065582;2.832198;68.404872;62.997139;986.029577;985.279526;92.051776;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0011S-1-5;4;DIT_01_FC1;F;1.500000;06/03/24 16:37:15;1;55.001000;8.463321;2.060232;2.837250;68.637005;62.997129;985.404542;985.279526;92.051776;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0012S-1-1;5;DIT_01_FL1;G;1.500000;06/03/24 16:42:20;1;55.001000;8.368335;1.962346;2.738277;53.345837;60.997451;754.181717;0.000000;0.000000;Failed;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0012S-1-2;5;DIT_01_FL1;G;1.500000;06/03/24 16:46:27;1;55.001000;8.431097;2.093953;2.890217;54.072718;60.997454;756.062573;0.000000;0.000000;Failed;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0012S-1-3;5;DIT_01_FL1;G;1.500000;06/03/24 16:50:31;1;55.001000;8.368323;2.036072;2.718116;53.855138;60.997455;759.688958;0.000000;0.000000;Failed;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0012S-1-4;5;DIT_01_FL1;G;1.500000;06/03/24 16:54:38;1;55.001000;8.299087;1.961517;2.663346;53.595225;61.997147;761.007246;0.000000;0.000000;Failed;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0012S-1-5;5;DIT_01_FL1;G;1.500000;06/03/24 16:58:44;1;55.000300;8.279910;1.980976;2.749585;54.021434;60.997448;761.611408;0.000000;0.000000;Failed;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0012S-2-1;5;DIT_01_FL1;G;1.500000;06/03/24 17:02:49;2;55.000300;8.277825;1.999434;2.711398;54.365350;61.997452;762.146912;0.000000;0.000000;Failed;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0012S-2-2;5;DIT_01_FL1;G;1.500000;06/03/24 17:06:54;2;55.001000;8.275091;2.035635;2.821274;54.091984;60.997451;759.653443;0.000000;0.000000;Failed;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0012S-2-3;5;DIT_01_FL1;G;1.500000;06/03/24 17:11:02;2;55.001000;8.182404;2.001900;2.797924;54.045286;60.997452;756.762104;0.000000;0.000000;Failed;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0012S-2-4;5;DIT_01_FL1;G;1.500000;06/03/24 17:15:06;2;55.000300;8.196511;1.990709;2.786235;53.931722;60.997457;758.884244;0.000000;0.000000;Failed;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0012S-2-5;5;DIT_01_FL1;G;1.500000;06/03/24 17:19:13;2;55.000300;8.140884;2.025704;2.741585;53.601924;61.997453;756.321361;0.000000;0.000000;Failed;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0013S-1-1;Single;CRM1.2-5%;C (STD);1.200000;06/03/24 17:23:59;1;55.000300;8.111966;1.970639;2.769423;70.953512;58.997444;876.602329;876.602329;101.641802;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0014S-1-1;Single;CRM1.5-5%;C (STD);1.500000;06/03/24 17:27:53;1;55.000300;8.169714;2.002937;2.693726;78.821162;62.997132;1085.673499;1085.673499;101.952660;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000
0015S-1-1;Single;CRM1.8-5%;C (STD);1.800000;06/03/24 17:31:58;1;55.001000;8.213263;1.947199;2.746196;83.598063;65.997124;1299.090770;1299.090770;102.153477;Valid;;0.090000;10.000000;10.000000;0.750000;0.800000;0.800000;1500.000000;BL Diff;0.800000;0.00100+0.00000;Broken Line;250.000000

## Alteration
Sample ID | Sample # In Batch | Sample Name | Port | Volume (ml) | Start Time | Attempt # | Cell Temp (C) | H2O (‰) | Initial Baseline (ppm) | Final Baseline (ppm) | Peak (ppm) | Integration Time (sec) | Area (net) | Area (net avg) | DIC (uM) | Status | Baseline Std Dev | Wait Btwn Repeat (s) | Wait Btwn Sample (s) | Flush Volume (ml) | Pre-Acid Volume (ml) | Acid Volume (ml) | Injection Speed (sps) | End Analysis - Criteria | End Analysis - Value | Precision | Standard Curve | Gas Flowrate
0001S-1-1 | Single | junkCRM | C (STD) | 0.8 | 2024-06-03 12:40 | 1 | 55.001 | 10.3837 | 2.7135 | 3.4817 | 917.0692 | 81.9965 | 9562.7802 | 9562.7802 | 2114.5154 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0002A-1-1 | 1A | CRM1.2-10% | C (STD) | 1.2 | 2024-06-03 12:44 | 1 | 55.0006 | 10.7788 | 2.4007 | 3.1838 | 362.3563 | 73.9968 | 4158.442 | 0 | 202.36 | Failed | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0002A-1-2 | 1A | CRM1.2-10% | C (STD) | 1.2 | 2024-06-03 12:49 | 1 | 55.001 | 10.7894 | 2.3662 | 3.1503 | 124.7006 | 62.9975 | 1540.3442 | 0 | 202.36 | Failed | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0002A-1-3 | 1A | CRM1.2-10% | C (STD) | 1.2 | 2024-06-03 12:53 | 1 | 55.001 | 10.6455 | 2.3728 | 3.1247 | 121.4038 | 61.9974 | 1521.1367 | 0 | 202.36 | Failed | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0002A-1-4 | 1A | CRM1.2-10% | C (STD) | 1.2 | 2024-06-03 12:57 | 1 | 55.001 | 10.3694 | 2.2559 | 2.9761 | 121.29 | 62.9974 | 1518.8715 | 0 | 202.36 | Failed | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0002A-1-5 | 1A | CRM1.2-10% | C (STD) | 1.2 | 2024-06-03 13:01 | 1 | 55.001 | 10.1671 | 2.2296 | 2.9563 | 123.5386 | 62.9974 | 1516.2965 | 0 | 202.36 | Failed | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0002A-2-1 | 1A | CRM1.2-10% | C (STD) | 1.2 | 2024-06-03 13:05 | 2 | 55.0003 | 9.9154 | 2.2233 | 2.939 | 122.2427 | 61.9971 | 1514.5365 | 1514.6981 | 202.36 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0002A-2-2 | 1A | CRM1.2-10% | C (STD) | 1.2 | 2024-06-03 13:09 | 2 | 55.0003 | 9.7763 | 2.2312 | 2.9433 | 121.6726 | 62.9971 | 1516.096 | 1514.6981 | 202.36 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0002A-2-3 | 1A | CRM1.2-10% | C (STD) | 1.2 | 2024-06-03 13:13 | 2 | 55.001 | 9.5638 | 2.1875 | 2.973 | 120.404 | 61.9975 | 1513.4617 | 1514.6981 | 202.36 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0002B-1-1 | 1B | CRM1.5-10% | C (STD) | 1.5 | 2024-06-03 13:17 | 1 | 55.001 | 9.5022 | 2.1181 | 2.9168 | 137.8586 | 65.9971 | 1884.1532 | 0 | 202.36 | Failed | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0002B-1-2 | 1B | CRM1.5-10% | C (STD) | 1.5 | 2024-06-03 13:21 | 1 | 55.001 | 9.2716 | 2.0943 | 2.8478 | 136.2726 | 65.9971 | 1887.4642 | 0 | 202.36 | Failed | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0002B-1-3 | 1B | CRM1.5-10% | C (STD) | 1.5 | 2024-06-03 13:25 | 1 | 55.001 | 9.2764 | 2.3428 | 3.1065 | 134.2233 | 64.9974 | 1879.2194 | 0 | 202.36 | Failed | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0002B-1-4 | 1B | CRM1.5-10% | C (STD) | 1.5 | 2024-06-03 13:29 | 1 | 55.001 | 9.1488 | 2.0717 | 2.7963 | 136.3355 | 66.9971 | 1880.0616 | 0 | 202.36 | Failed | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0002B-1-5 | 1B | CRM1.5-10% | C (STD) | 1.5 | 2024-06-03 13:33 | 1 | 55.001 | 8.9848 | 2.4081 | 3.1727 | 136.141 | 64.9971 | 1884.1213 | 0 | 202.36 | Failed | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0002B-2-1 | 1B | CRM1.5-10% | C (STD) | 1.5 | 2024-06-03 13:38 | 2 | 55.001 | 8.9241 | 2.1655 | 2.9231 | 137.1934 | 64.9974 | 1887.5869 | 1893.6697 | 202.36 | Excluded | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0002B-2-2 | 1B | CRM1.5-10% | C (STD) | 1.5 | 2024-06-03 13:42 | 2 | 55.0003 | 8.755 | 2.1213 | 2.8337 | 136.9063 | 65.9971 | 1892.8268 | 1893.6697 | 202.36 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0002B-2-3 | 1B | CRM1.5-10% | C (STD) | 1.5 | 2024-06-03 13:46 | 2 | 55.0003 | 8.6862 | 2.0362 | 2.795 | 136.9478 | 65.9971 | 1895.0752 | 1893.6697 | 202.36 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0002B-2-4 | 1B | CRM1.5-10% | C (STD) | 1.5 | 2024-06-03 13:50 | 2 | 55.0003 | 8.7419 | 2.2149 | 2.947 | 136.0079 | 65.9971 | 1893.107 | 1893.6697 | 202.36 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0002C-1-1 | 1C | CRM1.8-10% | C (STD) | 1.8 | 2024-06-03 13:54 | 1 | 55.0003 | 8.6914 | 2.0769 | 2.8381 | 145.5813 | 68.9971 | 2264.189 | 2264.7045 | 202.36 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0002C-1-2 | 1C | CRM1.8-10% | C (STD) | 1.8 | 2024-06-03 13:59 | 1 | 55.0006 | 8.7468 | 2.0901 | 2.8563 | 146.6109 | 70.9971 | 2273.6029 | 2264.7045 | 202.36 | Excluded | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0002C-1-3 | 1C | CRM1.8-10% | C (STD) | 1.8 | 2024-06-03 14:03 | 1 | 55.0003 | 8.7029 | 2.0915 | 2.8844 | 146.9479 | 69.9971 | 2263.5053 | 2264.7045 | 202.36 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0002C-1-4 | 1C | CRM1.8-10% | C (STD) | 1.8 | 2024-06-03 14:07 | 1 | 55.0003 | 8.6638 | 2.0943 | 2.8052 | 149.3089 | 69.9971 | 2266.4193 | 2264.7045 | 202.36 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0003S-1-1 | 2 | DIT_06_SC-1 | D | 1.5 | 2024-06-03 14:13 | 1 | 55.0003 | 8.5887 | 2.0238 | 2.7493 | 83.3662 | 63.9975 | 1205.4421 | 1204.9638 | 128.8101 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0003S-1-2 | 2 | DIT_06_SC-1 | D | 1.5 | 2024-06-03 14:17 | 1 | 55.0003 | 8.7345 | 2.1493 | 2.8575 | 84.2381 | 64.9971 | 1204.0337 | 1204.9638 | 128.8101 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0003S-1-3 | 2 | DIT_06_SC-1 | D | 1.5 | 2024-06-03 14:21 | 1 | 55.0003 | 8.6913 | 2.0361 | 2.8263 | 83.8486 | 63.9971 | 1200.6439 | 1204.9638 | 128.8101 | Excluded | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0003S-1-4 | 2 | DIT_06_SC-1 | D | 1.5 | 2024-06-03 14:25 | 1 | 55.0003 | 8.7194 | 1.9926 | 2.7629 | 83.4718 | 63.9971 | 1199.2849 | 1204.9638 | 128.8101 | Excluded | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0003S-1-5 | 2 | DIT_06_SC-1 | D | 1.5 | 2024-06-03 14:29 | 1 | 55.0005 | 8.7372 | 2.0271 | 2.7611 | 82.8651 | 64.9971 | 1205.4156 | 1204.9638 | 128.8101 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0004S-1-1 | Single | DIT_)1_SL1-1 | D | 1.5 | 2024-06-03 14:34 | 1 | 55.0003 | 8.7459 | 2.0354 | 2.7756 | 104.2092 | 64.9975 | 1483.3912 | 1483.3912 | 158.5446 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0005S-1-1 | Single | DIT_01_SL1-2 | D | 1.5 | 2024-06-03 14:39 | 1 | 55.0003 | 8.6844 | 2.1459 | 2.8959 | 107.8286 | 65.9971 | 1530.3411 | 1530.3411 | 163.5586 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0006S-1-1 | Single | DIT_01_SL1-3 | D | 1.5 | 2024-06-03 14:43 | 1 | 55.0003 | 8.744 | 2.372 | 3.1099 | 107.436 | 65.9971 | 1529.6229 | 1529.6229 | 163.4819 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0007S-1-1 | Single | DIT_01_SL1-4 | D | 1.5 | 2024-06-03 14:47 | 1 | 55.0003 | 8.742 | 2.2227 | 2.9969 | 106.7772 | 63.9971 | 1526.321 | 1526.321 | 163.1293 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0008A-1-1 | 1A | CRM1.2-5% | C (STD) | 1.2 | 2024-06-03 14:52 | 1 | 55.0003 | 8.5365 | 1.9777 | 2.7223 | 70.8515 | 58.9975 | 872.052 | 872.165 | 101.0937 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0008A-1-2 | 1A | CRM1.2-5% | C (STD) | 1.2 | 2024-06-03 14:56 | 1 | 55.0003 | 8.5637 | 1.9745 | 2.7703 | 70.8088 | 58.9978 | 869.2517 | 872.165 | 101.0937 | Excluded | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0008A-1-3 | 1A | CRM1.2-5% | C (STD) | 1.2 | 2024-06-03 15:00 | 1 | 55.0003 | 8.4599 | 1.9653 | 2.7561 | 70.0926 | 58.9974 | 868.7021 | 872.165 | 101.0937 | Excluded | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0008A-1-4 | 1A | CRM1.2-5% | C (STD) | 1.2 | 2024-06-03 15:04 | 1 | 55.0003 | 8.4089 | 1.9544 | 2.6421 | 70.8339 | 58.9975 | 872.9348 | 872.165 | 101.0937 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0008A-1-5 | 1A | CRM1.2-5% | C (STD) | 1.2 | 2024-06-03 15:08 | 1 | 55.0003 | 8.4405 | 2.1013 | 2.8328 | 69.5983 | 58.9975 | 871.5081 | 872.165 | 101.0937 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0008B-1-1 | 1B | CRM1.5-5% | C (STD) | 1.5 | 2024-06-03 15:12 | 1 | 55.0003 | 8.5217 | 2.0399 | 2.7776 | 78.0977 | 62.9975 | 1077.6033 | 1076.7886 | 101.0937 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0008B-1-2 | 1B | CRM1.5-5% | C (STD) | 1.5 | 2024-06-03 15:16 | 1 | 55.0003 | 8.4796 | 2.0169 | 2.7302 | 78.5079 | 62.9975 | 1077.15 | 1076.7886 | 101.0937 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0008B-1-3 | 1B | CRM1.5-5% | C (STD) | 1.5 | 2024-06-03 15:20 | 1 | 55.0003 | 8.4243 | 1.9872 | 2.7649 | 78.4766 | 61.9975 | 1075.6123 | 1076.7886 | 101.0937 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0008C-1-1 | 1C | CRM1.8-5% | C (STD) | 1.8 | 2024-06-03 15:24 | 1 | 55.0003 | 8.4812 | 2.096 | 2.8553 | 82.5806 | 66.9971 | 1287.139 | 1285.9361 | 101.0937 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0008C-1-2 | 1C | CRM1.8-5% | C (STD) | 1.8 | 2024-06-03 15:28 | 1 | 55.0008 | 8.5043 | 2.0455 | 2.7997 | 84.2713 | 65.9974 | 1285.7586 | 1285.9361 | 101.0937 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0008C-1-3 | 1C | CRM1.8-5% | C (STD) | 1.8 | 2024-06-03 15:33 | 1 | 55.0003 | 8.4531 | 2.1858 | 2.885 | 84.8722 | 65.9975 | 1284.9107 | 1285.9361 | 101.0937 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0009S-1-1 | 2 | DIT_01_BC1 | D | 1.5 | 2024-06-03 15:38 | 1 | 55.001 | 8.4294 | 2.0857 | 2.7818 | 78.5843 | 63.9971 | 1118.9261 | 1115.3531 | 104.8219 | Excluded | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0009S-1-2 | 2 | DIT_01_BC1 | D | 1.5 | 2024-06-03 15:42 | 1 | 55.001 | 8.3901 | 2.0399 | 2.7296 | 79.4546 | 63.9971 | 1116.1234 | 1115.3531 | 104.8219 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0009S-1-3 | 2 | DIT_01_BC1 | D | 1.5 | 2024-06-03 15:46 | 1 | 55.001 | 8.3658 | 1.9809 | 2.7461 | 77.9141 | 63.9974 | 1115.6475 | 1115.3531 | 104.8219 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0009S-1-4 | 2 | DIT_01_BC1 | D | 1.5 | 2024-06-03 15:50 | 1 | 55.001 | 8.4659 | 2.0457 | 2.8271 | 79.1502 | 63.9975 | 1112.3794 | 1115.3531 | 104.8219 | Excluded | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0009S-1-5 | 2 | DIT_01_BC1 | D | 1.5 | 2024-06-03 15:54 | 1 | 55.0005 | 8.4862 | 2.0984 | 2.8548 | 77.8713 | 63.9975 | 1114.2885 | 1115.3531 | 104.8219 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0010S-1-1 | 3 | DIT_01_BL1 | E | 1.5 | 2024-06-03 15:59 | 1 | 55.0003 | 8.4448 | 1.9765 | 2.7091 | 66.6224 | 62.9971 | 938.0789 | 946.3721 | 88.2074 | Excluded | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0010S-1-2 | 3 | DIT_01_BL1 | E | 1.5 | 2024-06-03 16:03 | 1 | 55.001 | 8.4677 | 2.058 | 2.8298 | 66.0749 | 61.9971 | 939.0479 | 946.3721 | 88.2074 | Excluded | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0010S-1-3 | 3 | DIT_01_BL1 | E | 1.5 | 2024-06-03 16:08 | 1 | 55.001 | 8.4162 | 2.1439 | 2.8459 | 66.3468 | 63.9971 | 946.9091 | 946.3721 | 88.2074 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0010S-1-4 | 3 | DIT_01_BL1 | E | 1.5 | 2024-06-03 16:12 | 1 | 55.001 | 8.432 | 2.0742 | 2.8517 | 66.73 | 61.9971 | 945.5113 | 946.3721 | 88.2074 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0010S-1-5 | 3 | DIT_01_BL1 | E | 1.5 | 2024-06-03 16:16 | 1 | 55.0008 | 8.3452 | 1.9568 | 2.7152 | 67.2691 | 62.9971 | 946.6959 | 946.3721 | 88.2074 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0011S-1-1 | 4 | DIT_01_FC1 | F | 1.5 | 2024-06-03 16:21 | 1 | 55.001 | 8.4616 | 2.1023 | 2.8373 | 67.9965 | 62.9975 | 977.4554 | 985.2795 | 92.0518 | Excluded | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0011S-1-2 | 4 | DIT_01_FC1 | F | 1.5 | 2024-06-03 16:25 | 1 | 55.001 | 8.4749 | 2.0851 | 2.8765 | 68.5741 | 62.9975 | 984.4045 | 985.2795 | 92.0518 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0011S-1-3 | 4 | DIT_01_FC1 | F | 1.5 | 2024-06-03 16:29 | 1 | 55.001 | 8.4481 | 2.3675 | 3.131 | 69.93 | 61.9975 | 983.3536 | 985.2795 | 92.0518 | Excluded | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0011S-1-4 | 4 | DIT_01_FC1 | F | 1.5 | 2024-06-03 16:33 | 1 | 55.001 | 8.5153 | 2.0656 | 2.8322 | 68.4049 | 62.9971 | 986.0296 | 985.2795 | 92.0518 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0011S-1-5 | 4 | DIT_01_FC1 | F | 1.5 | 2024-06-03 16:37 | 1 | 55.001 | 8.4633 | 2.0602 | 2.8373 | 68.637 | 62.9971 | 985.4045 | 985.2795 | 92.0518 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0012S-1-1 | 5 | DIT_01_FL1 | G | 1.5 | 2024-06-03 16:42 | 1 | 55.001 | 8.3683 | 1.9623 | 2.7383 | 53.3458 | 60.9975 | 754.1817 | 0 | 0 | Failed | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0012S-1-2 | 5 | DIT_01_FL1 | G | 1.5 | 2024-06-03 16:46 | 1 | 55.001 | 8.4311 | 2.094 | 2.8902 | 54.0727 | 60.9975 | 756.0626 | 0 | 0 | Failed | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0012S-1-3 | 5 | DIT_01_FL1 | G | 1.5 | 2024-06-03 16:51 | 1 | 55.001 | 8.3683 | 2.0361 | 2.7181 | 53.8551 | 60.9975 | 759.689 | 0 | 0 | Failed | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0012S-1-4 | 5 | DIT_01_FL1 | G | 1.5 | 2024-06-03 16:55 | 1 | 55.001 | 8.2991 | 1.9615 | 2.6633 | 53.5952 | 61.9971 | 761.0072 | 0 | 0 | Failed | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0012S-1-5 | 5 | DIT_01_FL1 | G | 1.5 | 2024-06-03 16:59 | 1 | 55.0003 | 8.2799 | 1.981 | 2.7496 | 54.0214 | 60.9974 | 761.6114 | 0 | 0 | Failed | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0012S-2-1 | 5 | DIT_01_FL1 | G | 1.5 | 2024-06-03 17:03 | 2 | 55.0003 | 8.2778 | 1.9994 | 2.7114 | 54.3653 | 61.9975 | 762.1469 | 0 | 0 | Failed | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0012S-2-2 | 5 | DIT_01_FL1 | G | 1.5 | 2024-06-03 17:07 | 2 | 55.001 | 8.2751 | 2.0356 | 2.8213 | 54.092 | 60.9975 | 759.6534 | 0 | 0 | Failed | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0012S-2-3 | 5 | DIT_01_FL1 | G | 1.5 | 2024-06-03 17:11 | 2 | 55.001 | 8.1824 | 2.0019 | 2.7979 | 54.0453 | 60.9975 | 756.7621 | 0 | 0 | Failed | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0012S-2-4 | 5 | DIT_01_FL1 | G | 1.5 | 2024-06-03 17:15 | 2 | 55.0003 | 8.1965 | 1.9907 | 2.7862 | 53.9317 | 60.9975 | 758.8842 | 0 | 0 | Failed | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0012S-2-5 | 5 | DIT_01_FL1 | G | 1.5 | 2024-06-03 17:19 | 2 | 55.0003 | 8.1409 | 2.0257 | 2.7416 | 53.6019 | 61.9975 | 756.3214 | 0 | 0 | Failed | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0013S-1-1 | Single | CRM1.2-5% | C (STD) | 1.2 | 2024-06-03 17:24 | 1 | 55.0003 | 8.112 | 1.9706 | 2.7694 | 70.9535 | 58.9974 | 876.6023 | 876.6023 | 101.6418 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0014S-1-1 | Single | CRM1.5-5% | C (STD) | 1.5 | 2024-06-03 17:28 | 1 | 55.0003 | 8.1697 | 2.0029 | 2.6937 | 78.8212 | 62.9971 | 1085.6735 | 1085.6735 | 101.9527 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0015S-1-1 | Single | CRM1.8-5% | C (STD) | 1.8 | 2024-06-03 17:32 | 1 | 55.001 | 8.2133 | 1.9472 | 2.7462 | 83.5981 | 65.9971 | 1299.0908 | 1299.0908 | 102.1535 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250

## Processing
Areas selected for Ave's & SDs
--> scroll to R+ columns to see data processing. | [16 empty] | DIC project: | Testing DIC |  |  |  | CRM Batch | CRM |  | CRM Density (kgL-1) | 0.99904 |  | Drift Correction Calculations
[17 empty] | Run date: | 2024-06-03 |  |  |  | CRM DIC (umolkg-1) | 101.17 |  | CRM DIC (umolL-1) | 101.0726
[17 empty] | Operator: | RBB XG |  |  |  | CRM Salinity | 1.665
[17 empty] | Acid batch: | Date made on jar |  |  |  | Temperature (Avg_Rm) | 22
[17 empty] | Processed by: | RBB XG
Calibration data (CRMs) | [16 empty] | Morning CRM:
Sample ID | Sample # In Batch | Sample Name | Port | Volume (ml) | Start Time | Attempt # | Cell Temp (C) | H2O (‰) | Initial Baseline (ppm) | Final Baseline (ppm) | Peak (ppm) | Integration Time (sec) | Area (net) | Area (net avg) | DIC (uM) | Status | Date | Time | Date/Time | Sample | Volume (ml) | Area | Volume | Area1 | Stdev
0008A-1-1 | 1A | CRM1.2-5% | C (STD) | 1.2 | 2024-06-03 14:52 | 1 | 55.0003 | 8.5365 | 1.9777 | 2.7223 | 70.8515 | 58.9975 | 872.052 | 872.165 | 101.0937 | Valid | 2024-06-03 | 14:52 | 2024-06-03 14:52 | CRM1.2-5% | 1.2 | 872.052 | 1.2 | 872.165 | 0.62423
0008A-1-2 | 1A | CRM1.2-5% | C (STD) | 1.2 | 2024-06-03 14:56 | 1 | 55.0003 | 8.5637 | 1.9745 | 2.7703 | 70.8088 | 58.9978 | 869.2517 | 872.165 | 101.0937 | Excluded | 2024-06-03 | 14:56 | 2024-06-03 14:56 | CRM1.2-5% | 1.2 | 869.2517 | 1.5 | 1076.7886 | 1.0435
0008A-1-3 | 1A | CRM1.2-5% | C (STD) | 1.2 | 2024-06-03 15:00 | 1 | 55.0003 | 8.4599 | 1.9653 | 2.7561 | 70.0926 | 58.9974 | 868.7021 | 872.165 | 101.0937 | Excluded | 2024-06-03 | 15:00 | 2024-06-03 15:00 | CRM1.2-5% | 1.2 | 868.7021 | 1.8 | 1285.9361 | 1.1247
0008A-1-4 | 1A | CRM1.2-5% | C (STD) | 1.2 | 2024-06-03 15:04 | 1 | 55.0003 | 8.4089 | 1.9544 | 2.6421 | 70.8339 | 58.9975 | 872.9348 | 872.165 | 101.0937 | Valid | 2024-06-03 | 15:04 | 2024-06-03 15:04 | CRM1.2-5% | 1.2 | 872.9348
0008A-1-5 | 1A | CRM1.2-5% | C (STD) | 1.2 | 2024-06-03 15:08 | 1 | 55.0003 | 8.4405 | 2.1013 | 2.8328 | 69.5983 | 58.9975 | 871.5081 | 872.165 | 101.0937 | Valid | 2024-06-03 | 15:08 | 2024-06-03 15:08 | CRM1.2-5% | 1.2 | 871.5081
0008B-1-1 | 1B | CRM1.5-5% | C (STD) | 1.5 | 2024-06-03 15:12 | 1 | 55.0003 | 8.5217 | 2.0399 | 2.7776 | 78.0977 | 62.9975 | 1077.6033 | 1076.7886 | 101.0937 | Valid | 2024-06-03 | 15:12 | 2024-06-03 15:12 | CRM1.5-5% | 1.5 | 1077.6033
0008B-1-2 | 1B | CRM1.5-5% | C (STD) | 1.5 | 2024-06-03 15:16 | 1 | 55.0003 | 8.4796 | 2.0169 | 2.7302 | 78.5079 | 62.9975 | 1077.15 | 1076.7886 | 101.0937 | Valid | 2024-06-03 | 15:16 | 2024-06-03 15:16 | CRM1.5-5% | 1.5 | 1077.15
0008B-1-3 | 1B | CRM1.5-5% | C (STD) | 1.5 | 2024-06-03 15:20 | 1 | 55.0003 | 8.4243 | 1.9872 | 2.7649 | 78.4766 | 61.9975 | 1075.6123 | 1076.7886 | 101.0937 | Valid | 2024-06-03 | 15:20 | 2024-06-03 15:20 | CRM1.5-5% | 1.5 | 1075.6123
0008C-1-1 | 1C | CRM1.8-5% | C (STD) | 1.8 | 2024-06-03 15:24 | 1 | 55.0003 | 8.4812 | 2.096 | 2.8553 | 82.5806 | 66.9971 | 1287.139 | 1285.9361 | 101.0937 | Valid | 2024-06-03 | 15:24 | 2024-06-03 15:24 | CRM1.8-5% | 1.8 | 1287.139
0008C-1-2 | 1C | CRM1.8-5% | C (STD) | 1.8 | 2024-06-03 15:28 | 1 | 55.0008 | 8.5043 | 2.0455 | 2.7997 | 84.2713 | 65.9974 | 1285.7586 | 1285.9361 | 101.0937 | Valid | 2024-06-03 | 15:28 | 2024-06-03 15:28 | CRM1.8-5% | 1.8 | 1285.7586
0008C-1-3 | 1C | CRM1.8-5% | C (STD) | 1.8 | 2024-06-03 15:33 | 1 | 55.0003 | 8.4531 | 2.1858 | 2.885 | 84.8722 | 65.9975 | 1284.9107 | 1285.9361 | 101.0937 | Valid | 2024-06-03 | 15:33 | 2024-06-03 15:33 | CRM1.8-5% | 1.8 | 1284.9107
1st CRM
[23 empty] | End Time | Slope1 | Intercept1 | R2
[23 empty] | 15:12 | 0.00145 | -0.063551 | 0.99996
Last CRM
[23 empty] | End Time | Slope2 | Intercept2 | R2
[23 empty] | 17:32 | 0.0014201 | -0.04383 | 0.99996
Drift Correction Parameters
[23 empty] | dTime | dSlope | dIntercept
[23 empty] | 2:20 | -2.9912e-05 | 0.019721
Sample ID | Sample # In Batch | Sample Name | Port | Volume (ml) | Start Time | Attempt # | Cell Temp (C) | H2O (‰) | Initial Baseline (ppm) | Final Baseline (ppm) | Peak (ppm) | Integration Time (sec) | Area (net) | Area (net avg) | DIC (uM) | Status | Mid-Day: | [5 empty] | Volume | Area1 | Stdev |  | Volume | Area1 | Area2 | Area3 | Difference in Area (A1-A3)
0013S-1-1 | Single | CRM1.2-5% | C (STD) | 1.2 | 2024-06-03 17:24 | 1 | 55.0003 | 8.112 | 1.9706 | 2.7694 | 70.9535 | 58.9974 | 876.6023 | 876.6023 | 101.6418 | Valid | 2024-06-03 | 17:24 | 2024-06-03 17:24 | CRM1.2-5% | 1.2 | 876.6023 | 1.2 | 876.6023 | 506.1066 |  | 1.2 | 872.165 | 876.6023 | 876.6023 | -4.4374
0014S-1-1 | Single | CRM1.5-5% | C (STD) | 1.5 | 2024-06-03 17:28 | 1 | 55.0003 | 8.1697 | 2.0029 | 2.6937 | 78.8212 | 62.9971 | 1085.6735 | 1085.6735 | 101.9527 | Valid | 2024-06-03 | 17:28 | 2024-06-03 17:28 | CRM1.5-5% | 1.5 | 1085.6735 | 1.5 | 1085.6735 | 0 |  | 1.5 | 1076.7886 | 1085.6735 | 1085.6735 | -8.8849
0015S-1-1 | Single | CRM1.8-5% | C (STD) | 1.8 | 2024-06-03 17:32 | 1 | 55.001 | 8.2133 | 1.9472 | 2.7462 | 83.5981 | 65.9971 | 1299.0908 | 1299.0908 | 102.1535 | Valid | 2024-06-03 | 17:32 | 2024-06-03 17:32 | CRM1.8-5% | 1.8 | 1299.0908 | 1.8 | 1299.0908 | 0 |  | 1.8 | 1285.9361 | 1299.0908 | 1299.0908 | -13.1547
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
Sample ID | Sample # In Batch | Sample Name | Port | Volume (ml) | Start Time | Attempt # | Cell Temp (C) | H2O (‰) | Initial Baseline (ppm) | Final Baseline (ppm) | Peak (ppm) | Integration Time (sec) | Area (net) | Area (net avg) | DIC (uM) | Status | Evening CRM: | [5 empty] | Volume | Area1 | Stdev
Evening CRM here: | [16 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | 1.2 | 0 | 0
Columns A - Q from Raw sheet | [16 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | 1.5 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | 1.8 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
Samples
Sample ID | Sample # In Batch | Sample Name | Port | Volume (ml) | Start Time | Attempt # | Cell Temp (C) | H2O (‰) | Initial Baseline (ppm) | Final Baseline (ppm) | Peak (ppm) | Integration Time (sec) | Area (net) | Area (net avg) | DIC (uM) | Status | Date | Time | Date/Time | Sample | Volume (ml) | Area | CRM Volume (ml) | Drift corrected CRM V (ml) | DIC Content (1x10-9 mol) | DIC (umolL-1) | Rm Temp | Salinity | Density (kgL-1) | DIC' (umolkg-1) | Vol. HgCl2 (uL) | Vol. sample (mL) | HgCl2 CF | DICc (umolkg-1) | DIC_avg (umolkg-1) | DIC_stdev (umolkg-1) | n = | DIC_avg (umolL-1) | DIC_stdev (umolL-1) | n = | Sample
0003S-1-1 | 2 | DIT_06_SC-1 | D | 1.5 | 2024-06-03 14:13 | 1 | 55.0003 | 8.5887 | 2.0238 | 2.7493 | 83.3662 | 63.9975 | 1205.4421 | 1204.9638 | 128.8101 | Valid | 2024-06-03 | 14:13 | 2024-06-03 14:13 | DIT_06_SC-1 | 1.5 | 1205.4421 | 1.6844 | 1.6912 | 170.9375 | 113.9584 | 22 | 3 | 1 | 113.953 | 0 | 250 | 1 | 113.953 | 113.8516 | 0.089898 | 3 | 113.857 | 0.089903 | 3 | DIT_01_SC
0003S-1-2 | 2 | DIT_06_SC-1 | D | 1.5 | 2024-06-03 14:17 | 1 | 55.0003 | 8.7345 | 2.1493 | 2.8575 | 84.2381 | 64.9971 | 1204.0337 | 1204.9638 | 128.8101 | Valid | 2024-06-03 | 14:17 | 2024-06-03 14:17 | DIT_06_SC-1 | 1.5 | 1204.0337 | 1.6823 | 1.6887 | 170.6804 | 113.787 | 22 | 3 | 1 | 113.7816 | 0 | 250 | 1 | 113.7816
0003S-1-5 | 2 | DIT_06_SC-1 | D | 1.5 | 2024-06-03 14:29 | 1 | 55.0005 | 8.7372 | 2.0271 | 2.7611 | 82.8651 | 64.9971 | 1205.4156 | 1204.9638 | 128.8101 | Valid | 2024-06-03 | 14:29 | 2024-06-03 14:29 | DIT_06_SC-1 | 1.5 | 1205.4156 | 1.6843 | 1.6893 | 170.7384 | 113.8256 | 22 | 3 | 1 | 113.8202 | 0 | 250 | 1 | 113.8202
0004S-1-1 | Single | DIT_)1_SL1-1 | D | 1.5 | 2024-06-03 14:34 | 1 | 55.0003 | 8.7459 | 2.0354 | 2.7756 | 104.2092 | 64.9975 | 1483.3912 | 1483.3912 | 158.5446 | Valid | 2024-06-03 | 14:34 | 2024-06-03 14:34 | DIT_)1_SL1-1 | 1.5 | 1483.3912 | 2.0874 | 2.0939 | 211.6404 | 141.0936 | 22 | 3 | 1 | 141.087 | 0 | 250 | 1 | 141.087 | 144.3492 | 2.185 | 4 | 144.356 | 2.5956 | 4 | DIT_01_SL
0005S-1-1 | Single | DIT_01_SL1-2 | D | 1.5 | 2024-06-03 14:39 | 1 | 55.0003 | 8.6844 | 2.1459 | 2.8959 | 107.8286 | 65.9971 | 1530.3411 | 1530.3411 | 163.5586 | Valid | 2024-06-03 | 14:39 | 2024-06-03 14:39 | DIT_01_SL1-2 | 1.5 | 1530.3411 | 2.1555 | 2.1615 | 218.4727 | 145.6485 | 22 | 3 | 1 | 145.6416 | 0 | 250 | 1 | 145.6416
0006S-1-1 | Single | DIT_01_SL1-3 | D | 1.5 | 2024-06-03 14:43 | 1 | 55.0003 | 8.744 | 2.372 | 3.1099 | 107.436 | 65.9971 | 1529.6229 | 1529.6229 | 163.4819 | Valid | 2024-06-03 | 14:43 | 2024-06-03 14:43 | DIT_01_SL1-3 | 1.5 | 1529.6229 | 2.1544 | 2.1598 | 218.2917 | 145.5278 | 22 | 3 | 1 | 145.5209 | 0 | 250 | 1 | 145.5209
0007S-1-1 | Single | DIT_01_SL1-4 | D | 1.5 | 2024-06-03 14:47 | 1 | 55.0003 | 8.742 | 2.2227 | 2.9969 | 106.7772 | 63.9971 | 1526.321 | 1526.321 | 163.1293 | Valid | 2024-06-03 | 14:47 | 2024-06-03 14:47 | DIT_01_SL1-4 | 1.5 | 1526.321 | 2.1496 | 2.1542 | 217.7313 | 145.1542 | 22 | 3 | 1 | 145.1474 | 0 | 250 | 1 | 145.1474
0009S-1-2 | 2 | DIT_01_BC1 | D | 1.5 | 2024-06-03 15:42 | 1 | 55.001 | 8.3901 | 2.0399 | 2.7296 | 79.4546 | 63.9971 | 1116.1234 | 1115.3531 | 104.8219 | Valid | 2024-06-03 | 15:42 | 2024-06-03 15:42 | DIT_01_BC1 | 1.5 | 1116.1234 | 1.5548 | 1.5519 | 156.8557 | 104.5705 | 22 | 1.5 | 0.99891 | 104.6844 | 0 | 250 | 1 | 104.6844 | 104.5732 | 0.13397 | 3 | 104.4595 | 0.13382 | 3 | DIT_01_BC
0009S-1-3 | 2 | DIT_01_BC1 | D | 1.5 | 2024-06-03 15:46 | 1 | 55.001 | 8.3658 | 1.9809 | 2.7461 | 77.9141 | 63.9974 | 1115.6475 | 1115.3531 | 104.8219 | Valid | 2024-06-03 | 15:46 | 2024-06-03 15:46 | DIT_01_BC1 | 1.5 | 1115.6475 | 1.5542 | 1.5508 | 156.7457 | 104.4971 | 22 | 1.5 | 0.99891 | 104.6109 | 0 | 250 | 1 | 104.6109
0009S-1-5 | 2 | DIT_01_BC1 | D | 1.5 | 2024-06-03 15:54 | 1 | 55.0005 | 8.4862 | 2.0984 | 2.8548 | 77.8713 | 63.9975 | 1114.2885 | 1115.3531 | 104.8219 | Valid | 2024-06-03 | 15:54 | 2024-06-03 15:54 | DIT_01_BC1 | 1.5 | 1114.2885 | 1.5522 | 1.5481 | 156.4663 | 104.3109 | 22 | 1.5 | 0.99891 | 104.4245 | 0 | 250 | 1 | 104.4245
0010S-1-3 | 3 | DIT_01_BL1 | E | 1.5 | 2024-06-03 16:08 | 1 | 55.001 | 8.4162 | 2.1439 | 2.8459 | 66.3468 | 63.9971 | 946.9091 | 946.3721 | 88.2074 | Valid | 2024-06-03 | 16:08 | 2024-06-03 16:08 | DIT_01_BL1 | 1.5 | 946.9091 | 1.3095 | 1.3061 | 132.0067 | 88.0044 | 22 | 1.5 | 0.99891 | 88.1003 | 0 | 250 | 1 | 88.1003 | 88.0312 | 0.077278 | 3 | 87.9354 | 0.077194 | 3 | DIT_01_BL
0010S-1-4 | 3 | DIT_01_BL1 | E | 1.5 | 2024-06-03 16:12 | 1 | 55.001 | 8.432 | 2.0742 | 2.8517 | 66.73 | 61.9971 | 945.5113 | 946.3721 | 88.2074 | Valid | 2024-06-03 | 16:12 | 2024-06-03 16:12 | DIT_01_BL1 | 1.5 | 945.5113 | 1.3075 | 1.3038 | 131.7781 | 87.8521 | 22 | 1.5 | 0.99891 | 87.9477 | 0 | 250 | 1 | 87.9477
0010S-1-5 | 3 | DIT_01_BL1 | E | 1.5 | 2024-06-03 16:16 | 1 | 55.0008 | 8.3452 | 1.9568 | 2.7152 | 67.2691 | 62.9971 | 946.6959 | 946.3721 | 88.2074 | Valid | 2024-06-03 | 16:16 | 2024-06-03 16:16 | DIT_01_BL1 | 1.5 | 946.6959 | 1.3092 | 1.3052 | 131.9247 | 87.9498 | 22 | 1.5 | 0.99891 | 88.0456 | 0 | 250 | 1 | 88.0456
0011S-1-2 | 4 | DIT_01_FC1 | F | 1.5 | 2024-06-03 16:25 | 1 | 55.001 | 8.4749 | 2.0851 | 2.8765 | 68.5741 | 62.9975 | 984.4045 | 985.2795 | 92.0518 | Valid | 2024-06-03 | 16:25 | 2024-06-03 16:25 | DIT_01_FC1 | 1.5 | 984.4045 | 1.3639 | 1.3588 | 137.3348 | 91.5565 | 22 | 0 | 0.99777 | 91.7609 | 0 | 250 | 1 | 91.7609 | 91.8135 | 0.060542 | 3 | 91.609 | 0.060407 | 3 | DIT_01_FC
0011S-1-4 | 4 | DIT_01_FC1 | F | 1.5 | 2024-06-03 16:33 | 1 | 55.001 | 8.5153 | 2.0656 | 2.8322 | 68.4049 | 62.9971 | 986.0296 | 985.2795 | 92.0518 | Valid | 2024-06-03 | 16:33 | 2024-06-03 16:33 | DIT_01_FC1 | 1.5 | 986.0296 | 1.3662 | 1.3605 | 137.5125 | 91.675 | 22 | 0 | 0.99777 | 91.8796 | 0 | 250 | 1 | 91.8796
0011S-1-5 | 4 | DIT_01_FC1 | F | 1.5 | 2024-06-03 16:37 | 1 | 55.001 | 8.4633 | 2.0602 | 2.8373 | 68.637 | 62.9971 | 985.4045 | 985.2795 | 92.0518 | Valid | 2024-06-03 | 16:37 | 2024-06-03 16:37 | DIT_01_FC1 | 1.5 | 985.4045 | 1.3653 | 1.3594 | 137.3932 | 91.5955 | 22 | 0 | 0.99777 | 91.7999 | 0 | 250 | 1 | 91.7999
0012S-1-1 | 5 | DIT_01_FL1 | G | 1.5 | 2024-06-03 16:42 | 1 | 55.001 | 8.3683 | 1.9623 | 2.7383 | 53.3458 | 60.9975 | 754.1817 | 0 | 0 | Failed | 2024-06-03 | 16:42 | 2024-06-03 16:42 | DIT_01_FL1 | 1.5 | 754.1817 | 1.03 | 1.0282 | 103.9221 | 69.2814 | 22 | 0 | 0.99777 | 69.436 | 0 | 250 | 1 | 69.436 | 69.8396 | 0.25588 | 10 | 69.684 | 0.25531 | 10 | DIT_01_FL
0012S-1-2 | 5 | DIT_01_FL1 | G | 1.5 | 2024-06-03 16:46 | 1 | 55.001 | 8.4311 | 2.094 | 2.8902 | 54.0727 | 60.9975 | 756.0626 | 0 | 0 | Failed | 2024-06-03 | 16:46 | 2024-06-03 16:46 | DIT_01_FL1 | 1.5 | 756.0626 | 1.0328 | 1.0308 | 104.1855 | 69.457 | 22 | 0 | 0.99777 | 69.612 | 0 | 250 | 1 | 69.612
0012S-1-3 | 5 | DIT_01_FL1 | G | 1.5 | 2024-06-03 16:51 | 1 | 55.001 | 8.3683 | 2.0361 | 2.7181 | 53.8551 | 60.9975 | 759.689 | 0 | 0 | Failed | 2024-06-03 | 16:51 | 2024-06-03 16:51 | DIT_01_FL1 | 1.5 | 759.689 | 1.038 | 1.0359 | 104.7007 | 69.8005 | 22 | 0 | 0.99777 | 69.9563 | 0 | 250 | 1 | 69.9563
0012S-1-4 | 5 | DIT_01_FL1 | G | 1.5 | 2024-06-03 16:55 | 1 | 55.001 | 8.2991 | 1.9615 | 2.6633 | 53.5952 | 61.9971 | 761.0072 | 0 | 0 | Failed | 2024-06-03 | 16:55 | 2024-06-03 16:55 | DIT_01_FL1 | 1.5 | 761.0072 | 1.0399 | 1.0377 | 104.8821 | 69.9214 | 22 | 0 | 0.99777 | 70.0775 | 0 | 250 | 1 | 70.0775
0012S-1-5 | 5 | DIT_01_FL1 | G | 1.5 | 2024-06-03 16:59 | 1 | 55.0003 | 8.2799 | 1.981 | 2.7496 | 54.0214 | 60.9974 | 761.6114 | 0 | 0 | Failed | 2024-06-03 | 16:59 | 2024-06-03 16:59 | DIT_01_FL1 | 1.5 | 761.6114 | 1.0408 | 1.0385 | 104.9603 | 69.9735 | 22 | 0 | 0.99777 | 70.1297 | 0 | 250 | 1 | 70.1297
0012S-2-1 | 5 | DIT_01_FL1 | G | 1.5 | 2024-06-03 17:03 | 2 | 55.0003 | 8.2778 | 1.9994 | 2.7114 | 54.3653 | 61.9975 | 762.1469 | 0 | 0 | Failed | 2024-06-03 | 17:03 | 2024-06-03 17:03 | DIT_01_FL1 | 1.5 | 762.1469 | 1.0416 | 1.0391 | 105.0285 | 70.019 | 22 | 0 | 0.99777 | 70.1753 | 0 | 250 | 1 | 70.1753
0012S-2-2 | 5 | DIT_01_FL1 | G | 1.5 | 2024-06-03 17:07 | 2 | 55.001 | 8.2751 | 2.0356 | 2.8213 | 54.092 | 60.9975 | 759.6534 | 0 | 0 | Failed | 2024-06-03 | 17:07 | 2024-06-03 17:07 | DIT_01_FL1 | 1.5 | 759.6534 | 1.038 | 1.0355 | 104.6602 | 69.7735 | 22 | 0 | 0.99777 | 69.9292 | 0 | 250 | 1 | 69.9292
0012S-2-3 | 5 | DIT_01_FL1 | G | 1.5 | 2024-06-03 17:11 | 2 | 55.001 | 8.1824 | 2.0019 | 2.7979 | 54.0453 | 60.9975 | 756.7621 | 0 | 0 | Failed | 2024-06-03 | 17:11 | 2024-06-03 17:11 | DIT_01_FL1 | 1.5 | 756.7621 | 1.0338 | 1.0313 | 104.235 | 69.49 | 22 | 0 | 0.99777 | 69.6451 | 0 | 250 | 1 | 69.6451
0012S-2-4 | 5 | DIT_01_FL1 | G | 1.5 | 2024-06-03 17:15 | 2 | 55.0003 | 8.1965 | 1.9907 | 2.7862 | 53.9317 | 60.9975 | 758.8842 | 0 | 0 | Failed | 2024-06-03 | 17:15 | 2024-06-03 17:15 | DIT_01_FL1 | 1.5 | 758.8842 | 1.0368 | 1.0342 | 104.5318 | 69.6879 | 22 | 0 | 0.99777 | 69.8434 | 0 | 250 | 1 | 69.8434
0012S-2-5 | 5 | DIT_01_FL1 | G | 1.5 | 2024-06-03 17:19 | 2 | 55.0003 | 8.1409 | 2.0257 | 2.7416 | 53.6019 | 61.9975 | 756.3214 | 0 | 0 | Failed | 2024-06-03 | 17:19 | 2024-06-03 17:19 | DIT_01_FL1 | 1.5 | 756.3214 | 1.0331 | 1.0305 | 104.1544 | 69.4363 | 22 | 0 | 0.99777 | 69.5912 | 0 | 250 | 1 | 69.5912
Formulas:
Acid batch: = INT([Date/Time])
Date/Time = [Start Time]

## Summary
DIC_avg (umolkg-1) | DIC_stdev (umolkg-1) | n = | DIC_avg (umolL-1) | DIC_stdev (umolL-1) | n = | Sample
113.8516 | 0.089898 | 3 | 113.857 | 0.089903 | 3 | DIT_01_SC
144.3492 | 2.185 | 4 | 144.356 | 2.5956 | 4 | DIT_01_SL
104.5732 | 0.13397 | 3 | 104.4595 | 0.13382 | 3 | DIT_01_BC
88.0312 | 0.077278 | 3 | 87.9354 | 0.077194 | 3 | DIT_01_BL
91.8135 | 0.060542 | 3 | 91.609 | 0.060407 | 3 | DIT_01_FC
69.8396 | 0.25588 | 10 | 69.684 | 0.25531 | 10 | DIT_01_FL