## 061324_EBSD_DIT_Day10_DIC
Sample ID | Sample # In Batch | Sample Name | Port | Volume (ml) | Start Time | Attempt # | Cell Temp (C) | H2O (‰) | Initial Baseline (ppm) | Final Baseline (ppm) | Peak (ppm) | Integration Time (sec) | Area (net) | Area (net avg) | DIC (uM) | Status | Baseline Std Dev | Wait Btwn Repeat (s) | Wait Btwn Sample (s) | Flush Volume (ml) | Pre-Acid Volume (ml) | Acid Volume (ml) | Injection Speed (sps) | End Analysis - Criteria | End Analysis - Value | Precision | Standard Curve | Gas Flowrate
0001S-1-1 | Single | crm junk | C (STD) | 0.8 | 2024-06-13 09:47 | 1 | 55.0003 | 7.6734 | 2.212 | 2.9821 | 241.2058 | 61.9974 | 2460.2616 | 2460.2616 | 558.5776 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0002A-1-1 | 1A | CRM1.2-25% | C (STD) | 1.2 | 2024-06-13 09:51 | 1 | 55.0003 | 8.1771 | 1.8471 | 2.6107 | 285.0365 | 70.9968 | 3629.7148 | 3632.7697 | 202.4426 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0002A-1-3 | 1A | CRM1.2-25% | C (STD) | 1.2 | 2024-06-13 10:00 | 1 | 55.0003 | 8.4098 | 1.5961 | 2.3644 | 286.1905 | 70.9971 | 3634.5996 | 3632.7697 | 202.4426 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0002A-1-5 | 1A | CRM1.2-25% | C (STD) | 1.2 | 2024-06-13 10:08 | 1 | 55.0003 | 8.6241 | 1.541 | 2.3031 | 294.251 | 70.9971 | 3633.9948 | 3632.7697 | 202.4426 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0002B-1-1 | 1B | CRM1.5-25% | C (STD) | 1.5 | 2024-06-13 10:12 | 1 | 55.0003 | 8.6209 | 1.5234 | 2.2842 | 330.1525 | 75.9968 | 4544.0942 | 4542.631 | 202.4426 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0002B-1-2 | 1B | CRM1.5-25% | C (STD) | 1.5 | 2024-06-13 10:16 | 1 | 55.0003 | 8.6632 | 1.5061 | 2.28 | 328.1952 | 75.9968 | 4544.1889 | 4542.631 | 202.4426 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0002B-1-3 | 1B | CRM1.5-25% | C (STD) | 1.5 | 2024-06-13 10:21 | 1 | 55.001 | 8.5998 | 1.4929 | 2.2656 | 328.6781 | 75.9968 | 4539.6097 | 4542.631 | 202.4426 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0002C-1-2 | 1C | CRM1.8-25% | C (STD) | 1.8 | 2024-06-13 10:30 | 1 | 55.0008 | 8.2816 | 1.4498 | 2.2483 | 349.5243 | 80.9965 | 5450.9127 | 5451.3133 | 202.4426 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0002C-1-3 | 1C | CRM1.8-25% | C (STD) | 1.8 | 2024-06-13 10:34 | 1 | 55.0003 | 8.0396 | 1.4445 | 2.2238 | 354.5954 | 81.9965 | 5452.136 | 5451.3133 | 202.4426 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0002C-1-4 | 1C | CRM1.8-25% | C (STD) | 1.8 | 2024-06-13 10:39 | 1 | 55.0005 | 8.0736 | 1.4481 | 2.2356 | 354.651 | 80.9965 | 5450.8912 | 5451.3133 | 202.4426 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0004S-1-1 | Single | DIT_05_BC1 | D | 1.5 | 2024-06-13 12:29 | 1 | 55.001 | 8.0974 | 1.3745 | 2.1469 | 178.3206 | 68.9971 | 2505.9276 | 2505.9276 | 269.4667 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0005S-1-1 | Single | DIT_05_BL1 | E | 1.5 | 2024-06-13 12:34 | 1 | 55.001 | 8.1109 | 1.3719 | 2.1474 | 220.3493 | 70.9968 | 3033.4287 | 3033.4287 | 326.2141 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0006S-1-1 | Single | DIT_05_FC1 | F | 1.5 | 2024-06-13 12:39 | 1 | 55.0003 | 8.0685 | 1.3796 | 2.128 | 174.043 | 68.9971 | 2398.4141 | 2398.4141 | 257.9006 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0007S-1-1 | Single | DIT_05_FL1 | G | 1.5 | 2024-06-13 12:44 | 1 | 55.001 | 8.1291 | 1.3726 | 2.1289 | 141.9141 | 66.9971 | 1964.4985 | 1964.4985 | 211.2209 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0008S-1-1 | Single | DIT_05_SC1 | H | 1.5 | 2024-06-13 12:49 | 1 | 55.0003 | 8.1361 | 1.3685 | 2.1511 | 183.1509 | 68.9968 | 2514.1935 | 2514.1935 | 270.3559 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0009S-1-1 | Single | DIT_05_SL1 | I | 1.5 | 2024-06-13 12:54 | 1 | 55.0003 | 8.0648 | 1.3711 | 2.1172 | 17.1434 | 49.9978 | 197.5788 | 197.5788 | 18.1337 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0011S-1-1 | Single | DIT_05_BC2 | D | 1.5 | 2024-06-13 13:08 | 1 | 55.0003 | 7.9243 | 1.7062 | 2.4745 | 194.9248 | 69.9968 | 2670.358 | 2670.358 | 287.1557 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0012S-1-1 | Single | DIT_05_BL2 | E | 1.5 | 2024-06-13 13:13 | 1 | 55.0003 | 8.1681 | 1.4365 | 2.2332 | 233.0705 | 70.9971 | 3216.5483 | 3216.5483 | 345.9137 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0013S-1-1 | Single | DIT_05_FC2 | F | 1.5 | 2024-06-13 13:18 | 1 | 55.0003 | 7.9321 | 1.4231 | 2.1644 | 180.2182 | 68.9971 | 2556.4129 | 2556.4129 | 274.8978 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0014S-1-1 | Single | DIT_05_FL2 | G | 1.5 | 2024-06-13 13:23 | 1 | 55.0003 | 7.8032 | 1.5176 | 2.2854 | 151.41 | 65.9971 | 2100.2059 | 2100.2059 | 225.82 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0015S-1-1 | Single | DIT_05_SC2 | H | 1.5 | 2024-06-13 13:28 | 1 | 55.0003 | 7.9573 | 1.5211 | 2.2914 | 192.8193 | 70.9971 | 2715.0136 | 2715.0136 | 291.9597 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0016S-1-1 | Single | DIT_05_SL1 | I | 1.5 | 2024-06-13 13:33 | 1 | 55.0003 | 8.1455 | 1.6655 | 2.3861 | 190.9157 | 68.9971 | 2664.4131 | 2664.4131 | 286.5162 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0017S-1-1 | Single | DIT_05_SL2 | I | 1.5 | 2024-06-13 13:37 | 1 | 55.0003 | 8.1979 | 1.4635 | 2.1873 | 195.227 | 69.9971 | 2689.0247 | 2689.0247 | 289.1639 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0018S-1-1 | Single | DIT_05_BC3 | D | 1.5 | 2024-06-13 13:42 | 1 | 55.0003 | 8.2322 | 1.453 | 2.1865 | 194.4218 | 69.9971 | 2700.0065 | 2700.0065 | 290.3453 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0019S-1-1 | Single | DIT_05_BL3 | E | 1.5 | 2024-06-13 13:47 | 1 | 55.0003 | 8.1048 | 1.485 | 2.2444 | 233.5713 | 71.9968 | 3224.7966 | 3224.7966 | 346.8011 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0020S-1-1 | Single | DIT_05_FC3 | F | 1.5 | 2024-06-13 13:52 | 1 | 55.0003 | 7.9737 | 1.4828 | 2.2251 | 185.5444 | 69.9968 | 2581.0956 | 2581.0956 | 277.5531 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0021S-1-1 | Single | DIT_05_FL3 | G | 1.5 | 2024-06-13 13:57 | 1 | 55.0003 | 7.9502 | 1.4189 | 2.1964 | 151.1526 | 66.9971 | 2083.2017 | 2083.2017 | 223.9907 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0022S-1-1 | Single | DIT_05_SC3 | H | 1.5 | 2024-06-13 14:02 | 1 | 55.0003 | 7.9767 | 1.4287 | 2.2124 | 194.401 | 68.9968 | 2684.9663 | 2684.9663 | 288.7273 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0024S-1-1 | Single | DIT_05_SL3 | I | 1.5 | 2024-06-13 14:12 | 1 | 55.0003 | 7.9919 | 1.3962 | 2.1734 | 208.9545 | 69.9968 | 2879.5543 | 2879.5543 | 309.6606 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0025A-2-1 | 1A | CRM1.2-25% | C (STD) | 1.2 | 2024-06-13 14:38 | 2 | 55.0003 | 7.9533 | 1.4113 | 2.1899 | 312.0695 | 72.9968 | 3745.3142 | 3742.4039 | 508.0151 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0025A-2-2 | 1A | CRM1.2-25% | C (STD) | 1.2 | 2024-06-13 14:42 | 2 | 55.0003 | 7.9593 | 1.4029 | 2.1582 | 305.8428 | 70.9968 | 3742.6632 | 3742.4039 | 508.0151 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0025A-2-5 | 1A | CRM1.2-25% | C (STD) | 1.2 | 2024-06-13 14:54 | 2 | 55.001 | 8.0769 | 1.395 | 2.1568 | 299.6092 | 71.9968 | 3739.2343 | 3742.4039 | 508.0151 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0025B-1-1 | 1B | CRM1.5-25% | C (STD) | 1.5 | 2024-06-13 14:59 | 1 | 55.001 | 8.1001 | 1.4149 | 2.2086 | 341.7917 | 74.9968 | 4671.0169 | 4673.6983 | 508.0151 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0025B-1-2 | 1B | CRM1.5-25% | C (STD) | 1.5 | 2024-06-13 15:03 | 1 | 55.001 | 8.0858 | 1.3913 | 2.1895 | 340.4471 | 74.9968 | 4672.9937 | 4673.6983 | 508.0151 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0025B-1-3 | 1B | CRM1.5-25% | C (STD) | 1.5 | 2024-06-13 15:07 | 1 | 55.001 | 8.0841 | 1.3847 | 2.1603 | 339.8765 | 75.9968 | 4677.0841 | 4673.6983 | 508.0151 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0025C-1-1 | 1C | CRM1.8-25% | C (STD) | 1.8 | 2024-06-13 15:12 | 1 | 55.001 | 8.1681 | 1.3732 | 2.1671 | 370.882 | 79.9968 | 5619.2829 | 5617.2109 | 508.0151 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0025C-1-2 | 1C | CRM1.8-25% | C (STD) | 1.8 | 2024-06-13 15:16 | 1 | 55.001 | 8.2028 | 1.3861 | 2.1775 | 370.8367 | 80.9965 | 5614.8736 | 5617.2109 | 508.0151 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0025C-1-3 | 1C | CRM1.8-25% | C (STD) | 1.8 | 2024-06-13 15:21 | 1 | 55.0003 | 8.1631 | 1.389 | 2.1742 | 367.3224 | 79.9965 | 5617.4762 | 5617.2109 | 508.0151 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250

## Processing
Areas selected for Ave's & SDs
--> scroll to R+ columns to see data processing. | [16 empty] | DIC project: | Testing DIC |  |  |  | CRM Batch | FakeCRM (seawater) |  | CRM Density (kgL-1) | 1.0041 |  | Drift Correction Calculations
[17 empty] | Run date: | MM/DD/YYYY |  |  |  | CRM DIC (umolkg-1) | 506 |  | CRM DIC (umolL-1) | 508.0564
[17 empty] | Operator: | MCR |  |  |  | CRM Salinity | 8.325
[17 empty] | Acid batch: | Date made on jar |  |  |  | Temperature (Avg_Rm) | 22
[17 empty] | Processed by: | MCR
Calibration data (CRMs) | [16 empty] | Morning CRM:
Sample ID | Sample # In Batch | Sample Name | Port | Volume (ml) | Start Time | Attempt # | Cell Temp (C) | H2O (‰) | Initial Baseline (ppm) | Final Baseline (ppm) | Peak (ppm) | Integration Time (sec) | Area (net) | Area (net avg) | DIC (uM) | Status | Date | Time | Date/Time | Sample | Volume (ml) | Area | Volume | Area1 | Stdev
0002A-1-1 | 1A | CRM1.2-25% | C (STD) | 1.2 | 2024-06-13 09:51 | 1 | 55.0003 | 8.1771 | 1.8471 | 2.6107 | 285.0365 | 70.9968 | 3629.7148 | 3632.7697 | 202.4426 | Valid | 2024-06-13 | 9:51 | 2024-06-13 09:51 | CRM1.2-25% | 1.2 | 3629.7148 | 1.2 | 3632.7697
0002A-1-3 | 1A | CRM1.2-25% | C (STD) | 1.2 | 2024-06-13 10:00 | 1 | 55.0003 | 8.4098 | 1.5961 | 2.3644 | 286.1905 | 70.9971 | 3634.5996 | 3632.7697 | 202.4426 | Valid | 2024-06-13 | 10:00 | 2024-06-13 10:00 | CRM1.2-25% | 1.2 | 3634.5996 | 1.5 | 4542.631
0002A-1-5 | 1A | CRM1.2-25% | C (STD) | 1.2 | 2024-06-13 10:08 | 1 | 55.0003 | 8.6241 | 1.541 | 2.3031 | 294.251 | 70.9971 | 3633.9948 | 3632.7697 | 202.4426 | Valid | 2024-06-13 | 10:08 | 2024-06-13 10:08 | CRM1.2-25% | 1.2 | 3633.9948 | 1.8 | 5451.3133
0002B-1-1 | 1B | CRM1.5-25% | C (STD) | 1.5 | 2024-06-13 10:12 | 1 | 55.0003 | 8.6209 | 1.5234 | 2.2842 | 330.1525 | 75.9968 | 4544.0942 | 4542.631 | 202.4426 | Valid | 2024-06-13 | 10:12 | 2024-06-13 10:12 | CRM1.5-25% | 1.5 | 4544.0942
0002B-1-2 | 1B | CRM1.5-25% | C (STD) | 1.5 | 2024-06-13 10:16 | 1 | 55.0003 | 8.6632 | 1.5061 | 2.28 | 328.1952 | 75.9968 | 4544.1889 | 4542.631 | 202.4426 | Valid | 2024-06-13 | 10:16 | 2024-06-13 10:16 | CRM1.5-25% | 1.5 | 4544.1889
0002B-1-3 | 1B | CRM1.5-25% | C (STD) | 1.5 | 2024-06-13 10:21 | 1 | 55.001 | 8.5998 | 1.4929 | 2.2656 | 328.6781 | 75.9968 | 4539.6097 | 4542.631 | 202.4426 | Valid | 2024-06-13 | 10:21 | 2024-06-13 10:21 | CRM1.5-25% | 1.5 | 4539.6097
0002C-1-2 | 1C | CRM1.8-25% | C (STD) | 1.8 | 2024-06-13 10:30 | 1 | 55.0008 | 8.2816 | 1.4498 | 2.2483 | 349.5243 | 80.9965 | 5450.9127 | 5451.3133 | 202.4426 | Valid | 2024-06-13 | 10:30 | 2024-06-13 10:30 | CRM1.8-25% | 1.8 | 5450.9127
0002C-1-3 | 1C | CRM1.8-25% | C (STD) | 1.8 | 2024-06-13 10:34 | 1 | 55.0003 | 8.0396 | 1.4445 | 2.2238 | 354.5954 | 81.9965 | 5452.136 | 5451.3133 | 202.4426 | Valid | 2024-06-13 | 10:34 | 2024-06-13 10:34 | CRM1.8-25% | 1.8 | 5452.136
0002C-1-4 | 1C | CRM1.8-25% | C (STD) | 1.8 | 2024-06-13 10:39 | 1 | 55.0005 | 8.0736 | 1.4481 | 2.2356 | 354.651 | 80.9965 | 5450.8912 | 5451.3133 | 202.4426 | Valid | 2024-06-13 | 10:39 | 2024-06-13 10:39 | CRM1.8-25% | 1.8 | 5450.8912
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | 1st CRM
[23 empty] | End Time | Slope1 | Intercept1 | R2
[23 empty] | 10:21 | 0.00032993 | 0.0013598 | 1
Last CRM
[23 empty] | End Time | Slope2 | Intercept2 | R2
[23 empty] | 14:54 | 0.00032003 | 0.0029804 | 0.99999
Drift Correction Parameters
[23 empty] | dTime | dSlope | dIntercept
[23 empty] | 4:34 | -9.9059e-06 | 0.0016205
Sample ID | Sample # In Batch | Sample Name | Port | Volume (ml) | Start Time | Attempt # | Cell Temp (C) | H2O (‰) | Initial Baseline (ppm) | Final Baseline (ppm) | Peak (ppm) | Integration Time (sec) | Area (net) | Area (net avg) | DIC (uM) | Status | Mid-Day: | [5 empty] | Volume | Area1 | Stdev |  | Volume | Area1 | Area2 | Area3 | Difference in Area (A1-A3)
0025A-2-1 | 1A | CRM1.2-25% | C (STD) | 1.2 | 2024-06-13 14:38 | 2 | 55.0003 | 7.9533 | 1.4113 | 2.1899 | 312.0695 | 72.9968 | 3745.3142 | 3742.4039 | 508.0151 | Valid | 2024-06-13 | 14:38 | 2024-06-13 14:38 | CRM1.2-25% | 1.2 | 3745.3142 | 1.2 | 3742.4039 |  |  | 1.2 | 3632.7697 | 3742.4039 | 3742.4039 | -109.6342
0025A-2-2 | 1A | CRM1.2-25% | C (STD) | 1.2 | 2024-06-13 14:42 | 2 | 55.0003 | 7.9593 | 1.4029 | 2.1582 | 305.8428 | 70.9968 | 3742.6632 | 3742.4039 | 508.0151 | Valid | 2024-06-13 | 14:42 | 2024-06-13 14:42 | CRM1.2-25% | 1.2 | 3742.6632 | 1.5 | 4673.6983 |  |  | 1.5 | 4542.631 | 4673.6983 | 4673.6983 | -131.0673
0025A-2-5 | 1A | CRM1.2-25% | C (STD) | 1.2 | 2024-06-13 14:54 | 2 | 55.001 | 8.0769 | 1.395 | 2.1568 | 299.6092 | 71.9968 | 3739.2343 | 3742.4039 | 508.0151 | Valid | 2024-06-13 | 14:54 | 2024-06-13 14:54 | CRM1.2-25% | 1.2 | 3739.2343 | 1.8 | 5617.2109 |  |  | 1.8 | 5451.3133 | 5617.2109 | 5617.2109 | -165.8976
0025B-1-1 | 1B | CRM1.5-25% | C (STD) | 1.5 | 2024-06-13 14:59 | 1 | 55.001 | 8.1001 | 1.4149 | 2.2086 | 341.7917 | 74.9968 | 4671.0169 | 4673.6983 | 508.0151 | Valid | 2024-06-13 | 14:59 | 2024-06-13 14:59 | CRM1.5-25% | 1.5 | 4671.0169
0025B-1-2 | 1B | CRM1.5-25% | C (STD) | 1.5 | 2024-06-13 15:03 | 1 | 55.001 | 8.0858 | 1.3913 | 2.1895 | 340.4471 | 74.9968 | 4672.9937 | 4673.6983 | 508.0151 | Valid | 2024-06-13 | 15:03 | 2024-06-13 15:03 | CRM1.5-25% | 1.5 | 4672.9937
0025B-1-3 | 1B | CRM1.5-25% | C (STD) | 1.5 | 2024-06-13 15:07 | 1 | 55.001 | 8.0841 | 1.3847 | 2.1603 | 339.8765 | 75.9968 | 4677.0841 | 4673.6983 | 508.0151 | Valid | 2024-06-13 | 15:07 | 2024-06-13 15:07 | CRM1.5-25% | 1.5 | 4677.0841
0025C-1-1 | 1C | CRM1.8-25% | C (STD) | 1.8 | 2024-06-13 15:12 | 1 | 55.001 | 8.1681 | 1.3732 | 2.1671 | 370.882 | 79.9968 | 5619.2829 | 5617.2109 | 508.0151 | Valid | 2024-06-13 | 15:12 | 2024-06-13 15:12 | CRM1.8-25% | 1.8 | 5619.2829
0025C-1-2 | 1C | CRM1.8-25% | C (STD) | 1.8 | 2024-06-13 15:16 | 1 | 55.001 | 8.2028 | 1.3861 | 2.1775 | 370.8367 | 80.9965 | 5614.8736 | 5617.2109 | 508.0151 | Valid | 2024-06-13 | 15:16 | 2024-06-13 15:16 | CRM1.8-25% | 1.8 | 5614.8736
0025C-1-3 | 1C | CRM1.8-25% | C (STD) | 1.8 | 2024-06-13 15:21 | 1 | 55.0003 | 8.1631 | 1.389 | 2.1742 | 367.3224 | 79.9965 | 5617.4762 | 5617.2109 | 508.0151 | Valid | 2024-06-13 | 15:21 | 2024-06-13 15:21 | CRM1.8-25% | 1.8 | 5617.4762
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
Sample ID | Sample # In Batch | Sample Name | Port | Volume (ml) | Start Time | Attempt # | Cell Temp (C) | H2O (‰) | Initial Baseline (ppm) | Final Baseline (ppm) | Peak (ppm) | Integration Time (sec) | Area (net) | Area (net avg) | DIC (uM) | Status | Evening CRM: | [5 empty] | Volume | Area1 | Stdev
Evening CRM here: | [16 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | 1.2 | 0 | 0
Columns A - Q from Raw sheet | [16 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | 1.5 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | 1.8 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
Samples
Sample ID | Sample # In Batch | Sample Name | Port | Volume (ml) | Start Time | Attempt # | Cell Temp (C) | H2O (‰) | Initial Baseline (ppm) | Final Baseline (ppm) | Peak (ppm) | Integration Time (sec) | Area (net) | Area (net avg) | DIC (uM) | Status | Date | Time | Date/Time | Sample | Volume (ml) | Area | CRM Volume (ml) | Drift corrected CRM V (ml) | DIC Content (1x10-9 mol) | DIC (umolL-1) | Rm Temp | Salinity | Density (kgL-1) | DIC' (umolkg-1) | Vol. HgCl2 (uL) | Vol. sample (mL) | HgCl2 CF | DICc (umolkg-1) | DIC_avg (umolkg-1) | DIC_stdev (umolkg-1) | n = | DIC_avg (umolL-1) | DIC_stdev (umolL-1) | n = | Sample
0004S-1-1 | Single | DIT_05_BC1 | D | 1.5 | 2024-06-13 12:29 | 1 | 55.001 | 8.0974 | 1.3745 | 2.1469 | 178.3206 | 68.9971 | 2505.9276 | 2505.9276 | 269.4667 | Valid | 2024-06-13 | 12:29 | 2024-06-13 12:29 | DIT_05_BC1 | 1.5 | 2505.9276 | 0.82815 | 0.81729 | 415.2319 | 276.8213 | 22 | 1.65 | 0.99903 | 277.0912 | 0 | 250 | 1 | 277.0912 | 289.1053 | 10.462 |  | 289.1053 | 10.462 |  | BC
0011S-1-1 | Single | DIT_05_BC2 | D | 1.5 | 2024-06-13 13:08 | 1 | 55.0003 | 7.9243 | 1.7062 | 2.4745 | 194.9248 | 69.9968 | 2670.358 | 2670.358 | 287.1557 | Valid | 2024-06-13 | 13:08 | 2024-06-13 13:08 | DIT_05_BC2 | 1.5 | 2670.358 | 0.8824 | 0.86722 | 440.5956 | 293.7304 | 22 | 1.65 | 0.99903 | 294.0168 | 0 | 250 | 1 | 294.0168
0018S-1-1 | Single | DIT_05_BC3 | D | 1.5 | 2024-06-13 13:42 | 1 | 55.0003 | 8.2322 | 1.453 | 2.1865 | 194.4218 | 69.9971 | 2700.0065 | 2700.0065 | 290.3453 | Valid | 2024-06-13 | 13:42 | 2024-06-13 13:42 | DIT_05_BC3 | 1.5 | 2700.0065 | 0.89218 | 0.87368 | 443.8789 | 295.9193 | 22 | 1.65 | 0.99903 | 296.2078 | 0 | 250 | 1 | 296.2078
0005S-1-1 | Single | DIT_05_BL1 | E | 1.5 | 2024-06-13 12:34 | 1 | 55.001 | 8.1109 | 1.3719 | 2.1474 | 220.3493 | 70.9968 | 3033.4287 | 3033.4287 | 326.2141 | Valid | 2024-06-13 | 12:34 | 2024-06-13 12:34 | DIT_05_BL1 | 1.5 | 3033.4287 | 1.0022 | 0.98837 | 502.1474 | 334.7649 | 22 | 1.65 | 0.99903 | 335.0913 | 0 | 250 | 1 | 335.0913 | 347.4391 | 10.6952 |  | 347.4391 | 10.6952
0012S-1-1 | Single | DIT_05_BL2 | E | 1.5 | 2024-06-13 13:13 | 1 | 55.0003 | 8.1681 | 1.4365 | 2.2332 | 233.0705 | 70.9971 | 3216.5483 | 3216.5483 | 345.9137 | Valid | 2024-06-13 | 13:13 | 2024-06-13 13:13 | DIT_05_BL2 | 1.5 | 3216.5483 | 1.0626 | 1.0436 | 530.1881 | 353.4588 | 22 | 1.65 | 0.99903 | 353.8034 | 0 | 250 | 1 | 353.8034
0019S-1-1 | Single | DIT_05_BL3 | E | 1.5 | 2024-06-13 13:47 | 1 | 55.0003 | 8.1048 | 1.485 | 2.2444 | 233.5713 | 71.9968 | 3224.7966 | 3224.7966 | 346.8011 | Valid | 2024-06-13 | 13:47 | 2024-06-13 13:47 | DIT_05_BL3 | 1.5 | 3224.7966 | 1.0653 | 1.0424 | 529.6174 | 353.0783 | 22 | 1.65 | 0.99903 | 353.4226 | 0 | 250 | 1 | 353.4226 | [6 empty] | BL
0006S-1-1 | Single | DIT_05_FC1 | F | 1.5 | 2024-06-13 12:39 | 1 | 55.0003 | 8.0685 | 1.3796 | 2.128 | 174.043 | 68.9971 | 2398.4141 | 2398.4141 | 257.9006 | Valid | 2024-06-13 | 12:39 | 2024-06-13 12:39 | DIT_05_FC1 | 1.5 | 2398.4141 | 0.79268 | 0.7815 | 397.0485 | 264.699 | 22 | 0 | 0.99777 | 265.2898 | 0 | 250 | 1 | 265.2898 | 276.7031 | 9.9204 |  | 276.7031 | 9.9204
0013S-1-1 | Single | DIT_05_FC2 | F | 1.5 | 2024-06-13 13:18 | 1 | 55.0003 | 7.9321 | 1.4231 | 2.1644 | 180.2182 | 68.9971 | 2556.4129 | 2556.4129 | 274.8978 | Valid | 2024-06-13 | 13:18 | 2024-06-13 13:18 | DIT_05_FC2 | 1.5 | 2556.4129 | 0.84481 | 0.82944 | 421.4037 | 280.9358 | 22 | 0 | 0.99777 | 281.5629 | 0 | 250 | 1 | 281.5629
0020S-1-1 | Single | DIT_05_FC3 | F | 1.5 | 2024-06-13 13:52 | 1 | 55.0003 | 7.9737 | 1.4828 | 2.2251 | 185.5444 | 69.9968 | 2581.0956 | 2581.0956 | 277.5531 | Valid | 2024-06-13 | 13:52 | 2024-06-13 13:52 | DIT_05_FC3 | 1.5 | 2581.0956 | 0.85295 | 0.83443 | 423.9387 | 282.6258 | 22 | 0 | 0.99777 | 283.2566 | 0 | 250 | 1 | 283.2566 | [6 empty] | FC
0007S-1-1 | Single | DIT_05_FL1 | G | 1.5 | 2024-06-13 12:44 | 1 | 55.001 | 8.1291 | 1.3726 | 2.1289 | 141.9141 | 66.9971 | 1964.4985 | 1964.4985 | 211.2209 | Valid | 2024-06-13 | 12:44 | 2024-06-13 12:44 | DIT_05_FL1 | 1.5 | 1964.4985 | 0.64952 | 0.64018 | 325.2494 | 216.8329 | 22 | 0 | 0.99777 | 217.3169 | 0 | 250 | 1 | 217.3169 | 225.7763 | 7.447 |  | 225.7763 | 27.2099
0014S-1-1 | Single | DIT_05_FL2 | G | 1.5 | 2024-06-13 13:23 | 1 | 55.0003 | 7.8032 | 1.5176 | 2.2854 | 151.41 | 65.9971 | 2100.2059 | 2100.2059 | 225.82 | Valid | 2024-06-13 | 13:23 | 2024-06-13 13:23 | DIT_05_FL2 | 1.5 | 2100.2059 | 0.69429 | 0.6815 | 346.2415 | 230.8277 | 22 | 0 | 0.99777 | 231.3429 | 0 | 250 | 1 | 231.3429
0021S-1-1 | Single | DIT_05_FL3 | G | 1.5 | 2024-06-13 13:57 | 1 | 55.0003 | 7.9502 | 1.4189 | 2.1964 | 151.1526 | 66.9971 | 2083.2017 | 2083.2017 | 223.9907 | Valid | 2024-06-13 | 13:57 | 2024-06-13 13:57 | DIT_05_FL3 | 1.5 | 2083.2017 | 0.68868 | 0.67363 | 342.2397 | 228.1598 | 22 | 0 | 0.99777 | 228.6691 | 0 | 250 | 1 | 228.6691
0008S-1-1 | Single | DIT_05_SC1 | H | 1.5 | 2024-06-13 12:49 | 1 | 55.0003 | 8.1361 | 1.3685 | 2.1511 | 183.1509 | 68.9968 | 2514.1935 | 2514.1935 | 270.3559 | Valid | 2024-06-13 | 12:49 | 2024-06-13 12:49 | DIT_05_SC1 | 1.5 | 2514.1935 | 0.83088 | 0.81828 | 415.7309 | 277.1539 | 22 | 3.3 | 1.0003 | 277.0781 | 0 | 250 | 1 | 277.0781 | 289.5242 | 10.9955 |  | 289.5242 | 10.9955 |  | FL
0015S-1-1 | Single | DIT_05_SC2 | H | 1.5 | 2024-06-13 13:28 | 1 | 55.0003 | 7.9573 | 1.5211 | 2.2914 | 192.8193 | 70.9971 | 2715.0136 | 2715.0136 | 291.9597 | Valid | 2024-06-13 | 13:28 | 2024-06-13 13:28 | DIT_05_SC2 | 1.5 | 2715.0136 | 0.89714 | 0.87983 | 447.0023 | 298.0016 | 22 | 3.3 | 1.0003 | 297.92 | 0 | 250 | 1 | 297.92
0022S-1-1 | Single | DIT_05_SC3 | H | 1.5 | 2024-06-13 14:02 | 1 | 55.0003 | 7.9767 | 1.4287 | 2.2124 | 194.401 | 68.9968 | 2684.9663 | 2684.9663 | 288.7273 | Valid | 2024-06-13 | 14:02 | 2024-06-13 14:02 | DIT_05_SC3 | 1.5 | 2684.9663 | 0.88722 | 0.867 | 440.4827 | 293.6551 | 22 | 3.3 | 1.0003 | 293.5747 | 0 | 250 | 1 | 293.5747
0016S-1-1 | Single | DIT_05_SL1 | I | 1.5 | 2024-06-13 13:33 | 1 | 55.0003 | 8.1455 | 1.6655 | 2.3861 | 190.9157 | 68.9971 | 2664.4131 | 2664.4131 | 286.5162 | Valid | 2024-06-13 | 13:33 | 2024-06-13 13:33 | DIT_05_SL1 | 1.5 | 2664.4131 | 0.88044 | 0.86302 | 438.4624 | 292.3083 | 22 | 3.3 | 1.0003 | 292.2283 | 0 | 250 | 1 | 292.2283 | 300.4943 | 12.1631 |  | 300.4943 | 12.1631 |  | SC
0017S-1-1 | Single | DIT_05_SL2 | I | 1.5 | 2024-06-13 13:37 | 1 | 55.0003 | 8.1979 | 1.4635 | 2.1873 | 195.227 | 69.9971 | 2689.0247 | 2689.0247 | 289.1639 | Valid | 2024-06-13 | 13:37 | 2024-06-13 13:37 | DIT_05_SL2 | 1.5 | 2689.0247 | 0.88856 | 0.8706 | 442.3119 | 294.8746 | 22 | 3.3 | 1.0003 | 294.7939 | 0 | 250 | 1 | 294.7939
0024S-1-1 | Single | DIT_05_SL3 | I | 1.5 | 2024-06-13 14:12 | 1 | 55.0003 | 7.9919 | 1.3962 | 2.1734 | 208.9545 | 69.9968 | 2879.5543 | 2879.5543 | 309.6606 | Valid | 2024-06-13 | 14:12 | 2024-06-13 14:12 | DIT_05_SL3 | 1.5 | 2879.5543 | 0.95142 | 0.92868 | 471.8202 | 314.5468 | 22 | 3.3 | 1.0003 | 314.4607 | 0 | 250 | 1 | 314.4607
Formulas:
Acid batch: = INT([Date/Time])
Date/Time = [Start Time]

## Summary
DIC_avg (umolkg-1) | DIC_stdev (umolkg-1) | n = | DIC_avg (umolL-1) | DIC_stdev (umolL-1) | n = | Sample
288.744 | 10.4489 |  | 288.744 | 10.4489 |  | BC
347.0049 | 10.6818 |  | 347.0049 | 10.6818
276.1289 | 10.0142 |  | 276.1289 | 10.0142
225.4941 | 7.4377 |  | 225.4941 | 27.5759
289.6422 | 10.8814 |  | 289.6422 | 10.8814 |  | FL
300.1187 | 12.1479 |  | 300.1187 | 12.1479 |  | SC