## 061024_EBSD_DIT_Day7_DIC
Sample ID | Sample # In Batch | Sample Name | Port | Volume (ml) | Start Time | Attempt # | Cell Temp (C) | H2O (‰) | Initial Baseline (ppm) | Final Baseline (ppm) | Peak (ppm) | Integration Time (sec) | Area (net) | Area (net avg) | DIC (uM) | Status | Baseline Std Dev | Wait Btwn Repeat (s) | Wait Btwn Sample (s) | Flush Volume (ml) | Pre-Acid Volume (ml) | Acid Volume (ml) | Injection Speed (sps) | End Analysis - Criteria | End Analysis - Value | Precision | Standard Curve | Gas Flowrate
0001S-1-1 | Single | junkCRM | C (STD) | 0.8 | 2024-06-10 09:55 | 1 | 55.0003 | 9.2769 | 2.7779 | 3.5006 | 96.0354 | 56.9974 | 980.7368 | 980.7368 | 162.6758 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0002A-1-6 | 1A | CRM1.2-10% | C (STD) | 1.2 | 2024-06-10 10:19 | 1 | 55.001 | 9.4705 | 2.1415 | 2.8767 | 120.1279 | 63.9971 | 1506.2016 | 1506.8725 | 202.46 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0002A-1-7 | 1A | CRM1.2-10% | C (STD) | 1.2 | 2024-06-10 10:23 | 1 | 55.001 | 9.2524 | 2.1112 | 2.8788 | 122.3657 | 62.9975 | 1506.3873 | 1506.8725 | 202.46 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0002A-1-8 | 1A | CRM1.2-10% | C (STD) | 1.2 | 2024-06-10 10:27 | 1 | 55.0003 | 9.4486 | 2.0992 | 2.8588 | 118.1707 | 63.9975 | 1508.0285 | 1506.8725 | 202.46 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0003A-1-1 | 1A | CRM1.2-10% | C (STD) | 1.2 | 2024-06-10 10:32 | 1 | 55.0003 | 9.6372 | 2.1186 | 2.8888 | 119.0474 | 62.9971 | 1510.1404 | 1510.1684 | 202.46 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0003A-1-2 | 1A | CRM1.2-10% | C (STD) | 1.2 | 2024-06-10 10:36 | 1 | 55.0003 | 9.5469 | 2.0919 | 2.8302 | 120.4466 | 62.9971 | 1510.1916 | 1510.1684 | 202.46 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0003A-1-3 | 1A | CRM1.2-10% | C (STD) | 1.2 | 2024-06-10 10:40 | 1 | 55.001 | 9.2985 | 2.0605 | 2.8244 | 121.1028 | 62.9975 | 1510.1731 | 1510.1684 | 202.46 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0003B-1-1 | 1B | CRM1.5-10% | C (STD) | 1.5 | 2024-06-10 10:44 | 1 | 55.001 | 8.9139 | 2.0366 | 2.7807 | 137.7274 | 66.9971 | 1881.3475 | 1881.9646 | 202.46 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0003B-1-2 | 1B | CRM1.5-10% | C (STD) | 1.5 | 2024-06-10 10:48 | 1 | 55.001 | 8.6577 | 2.0329 | 2.8249 | 136.9716 | 66.9971 | 1881.4823 | 1881.9646 | 202.46 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0003B-1-5 | 1B | CRM1.5-10% | C (STD) | 1.5 | 2024-06-10 11:01 | 1 | 55.0003 | 8.5905 | 1.9995 | 2.7384 | 136.77 | 66.9971 | 1883.064 | 1881.9646 | 202.46 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0003C-1-1 | 1C | CRM1.8-10% | C (STD) | 1.8 | 2024-06-10 11:05 | 1 | 55.0003 | 8.8445 | 2.0731 | 2.7937 | 150.4917 | 69.9971 | 2256.0658 | 2257.0156 | 101.1027 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0003C-1-2 | 1C | CRM1.8-10% | C (STD) | 1.8 | 2024-06-10 11:10 | 1 | 55.0003 | 8.8268 | 2.1304 | 2.8904 | 146.9256 | 70.9971 | 2258.4767 | 2257.0156 | 101.1027 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0003C-1-3 | 1C | CRM1.8-10% | C (STD) | 1.8 | 2024-06-10 11:14 | 1 | 55.0003 | 8.4416 | 1.9632 | 2.7524 | 145.9177 | 69.9971 | 2256.5043 | 2257.0156 | 101.1027 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0006S-1-2 | 2 | DIT_04_BC1 | D | 1.5 | 2024-06-10 14:04 | 1 | 55.001 | 7.8954 | 1.8355 | 2.6324 | 173.8777 | 68.9968 | 2397.5996 | 2395.4245 | 225.4761 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0006S-1-3 | 2 | DIT_04_BC1 | D | 1.5 | 2024-06-10 14:08 | 1 | 55.001 | 7.8213 | 1.8204 | 2.6055 | 171.1806 | 68.9971 | 2394.2752 | 2395.4245 | 225.4761 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0006S-1-4 | 2 | DIT_04_BC1 | D | 1.5 | 2024-06-10 14:12 | 1 | 55.0003 | 7.8372 | 1.8306 | 2.5746 | 170.9341 | 68.9971 | 2394.3986 | 2395.4245 | 225.4761 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0008S-1-1 | Single | DIT_04_BL1 | E | 1.5 | 2024-06-10 15:00 | 1 | 55.001 | 8.2063 | 1.8658 | 2.616 | 205.3482 | 70.9971 | 2849.1845 | 2849.1845 | 268.2261 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0009S-1-1 | Single | DIT_04_FC1 | F | 1.5 | 2024-06-10 15:05 | 1 | 55.001 | 8.2387 | 1.8719 | 2.6584 | 162.3594 | 67.9971 | 2279.5202 | 2279.5202 | 214.5565 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0010S-1-1 | Single | DIT_04_FL1 | G | 1.5 | 2024-06-10 15:10 | 1 | 55.001 | 8.1745 | 1.858 | 2.572 | 134.0849 | 66.9971 | 1873.8154 | 1873.8154 | 176.3339 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0011S-1-1 | Single | DIT_04_SC1 | H | 1.5 | 2024-06-10 15:15 | 1 | 55.001 | 7.8394 | 1.834 | 2.5602 | 178.58 | 68.9971 | 2463.6916 | 2463.6916 | 231.9078 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0012S-1-1 | Single | DIT_04_SL1 | I | 1.5 | 2024-06-10 15:20 | 1 | 55.001 | 7.689 | 1.8433 | 2.6084 | 184.1043 | 68.9972 | 2599.646 | 2599.646 | 244.7164 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0013S-1-1 | Single | DIT_04_BC2 | D | 1.5 | 2024-06-10 15:25 | 1 | 55.0003 | 7.7321 | 1.8695 | 2.6436 | 181.4245 | 68.9971 | 2542.4255 | 2542.4255 | 239.3255 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0014S-1-1 | Single | DIT_04_BL2 | E | 1.5 | 2024-06-10 15:30 | 1 | 55.0003 | 7.8629 | 1.9433 | 2.6825 | 220.1737 | 70.9971 | 3098.8496 | 3098.8496 | 291.7477 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0015S-1-1 | Single | DIT_04_FC2 | F | 1.5 | 2024-06-10 15:35 | 1 | 55.0003 | 7.9073 | 1.86 | 2.6314 | 176.4647 | 68.9972 | 2491.12 | 2491.12 | 234.4919 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0016S-1-1 | Single | DIT_04_FL2 | G | 1.5 | 2024-06-10 15:40 | 1 | 55.0003 | 7.8277 | 1.8576 | 2.6036 | 145.4045 | 66.9971 | 2008.2704 | 2008.2704 | 189.0013 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0017S-1-1 | Single | DIT_04_SC2 | H | 1.5 | 2024-06-10 15:45 | 1 | 55.0003 | 7.7386 | 1.8572 | 2.6407 | 187.8756 | 68.9972 | 2617.484 | 2617.484 | 246.397 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0018S-1-1 | Single | DIT_04_SL2 | I | 1.5 | 2024-06-10 15:50 | 1 | 55.0003 | 7.9421 | 1.8609 | 2.6287 | 202.5158 | 70.9971 | 2854.8443 | 2854.8443 | 268.7593 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0019S-1-1 | Single | DIT_04_BC3 | D | 1.5 | 2024-06-10 15:55 | 1 | 55.001 | 8.2149 | 1.9149 | 2.7068 | 184.3811 | 68.9971 | 2532.9923 | 2532.9923 | 238.4368 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0020S-1-1 | Single | DIT_04_BL3 | E | 1.5 | 2024-06-10 16:00 | 1 | 55.001 | 8.1832 | 1.9025 | 2.7009 | 216.8325 | 69.9972 | 3014.7405 | 3014.7405 | 283.8236 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0021S-1-1 | Single | DIT_04_FC3 | F | 1.5 | 2024-06-10 16:05 | 1 | 55.001 | 7.9248 | 1.8813 | 2.653 | 172.0715 | 68.9968 | 2427.0623 | 2427.0623 | 228.4568 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0022S-1-1 | Single | DIT_04_FL3 | G | 1.5 | 2024-06-10 16:10 | 1 | 55.001 | 7.5838 | 1.8346 | 2.5929 | 134.6404 | 66.9971 | 1892.6335 | 1892.6335 | 178.1068 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0023S-1-1 | Single | DIT_04_SC3 | H | 1.5 | 2024-06-10 16:15 | 1 | 55.001 | 7.5305 | 1.8591 | 2.5957 | 181.0477 | 69.9968 | 2624.5582 | 2624.5582 | 247.0634 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0024S-1-1 | Single | DIT_04_SL3 | I | 1.5 | 2024-06-10 16:20 | 1 | 55.0003 | 7.6305 | 1.8791 | 2.6671 | 203.8744 | 69.9971 | 2827.797 | 2827.797 | 266.2111 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0025S-1-1 | Single | CRM1.2-10% | C (STD) | 1.2 | 2024-06-10 16:25 | 1 | 55.0003 | 7.7194 | 1.8392 | 2.6036 | 124.472 | 62.9971 | 1506.0153 | 1506.0153 | 177.103 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0026S-1-1 | Single | CRM1.5-10% | C (STD) | 1.5 | 2024-06-10 16:29 | 1 | 55.0003 | 7.8733 | 1.8517 | 2.5964 | 135.9294 | 66.9971 | 1876.5378 | 1876.5378 | 176.5904 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250
0027S-1-1 | Single | CRM1.8-10% | C (STD) | 1.8 | 2024-06-10 16:33 | 1 | 55.001 | 8.0816 | 1.9312 | 2.7259 | 148.3047 | 68.9971 | 2246.39 | 2246.39 | 176.196 | Valid | 0.09 | 10 | 10 | 0.75 | 0.8 | 0.8 | 1500 | BL Diff | 0.8 | 0.00100+0.00000 | Broken Line | 250

## Processing
Areas selected for Ave's & SDs
--> scroll to R+ columns to see data processing. | [16 empty] | DIC project: | Testing DIC |  |  |  | CRM Batch | FakeCRM (seawater) |  | CRM Density (kgL-1) | 1.0003 |  | Drift Correction Calculations
[17 empty] | Run date: | MM/DD/YYYY |  |  |  | CRM DIC (umolkg-1) | 202.4 |  | CRM DIC (umolL-1) | 202.46
[17 empty] | Operator: | MCR |  |  |  | CRM Salinity | 3.33
[17 empty] | Acid batch: | Date made on jar |  |  |  | Temperature (Avg_Rm) | 22
[17 empty] | Processed by: | MCR
Calibration data (CRMs) | [16 empty] | Morning CRM:
Sample ID | Sample # In Batch | Sample Name | Port | Volume (ml) | Start Time | Attempt # | Cell Temp (C) | H2O (‰) | Initial Baseline (ppm) | Final Baseline (ppm) | Peak (ppm) | Integration Time (sec) | Area (net) | Area (net avg) | DIC (uM) | Status | Date | Time | Date/Time | Sample | Volume (ml) | Area | Volume | Area1 | Stdev
0003A-1-1 | 1A | CRM1.2-10% | C (STD) | 1.2 | 2024-06-10 10:32 | 1 | 55.0003 | 9.6372 | 2.1186 | 2.8888 | 119.0474 | 62.9971 | 1510.1404 | 1510.1684 | 202.46 | Valid | 2024-06-10 | 10:32 | 2024-06-10 10:32 | CRM1.2-10% | 1.2 | 1510.1404 | 1.2 | 1510.1684
0003A-1-2 | 1A | CRM1.2-10% | C (STD) | 1.2 | 2024-06-10 10:36 | 1 | 55.0003 | 9.5469 | 2.0919 | 2.8302 | 120.4466 | 62.9971 | 1510.1916 | 1510.1684 | 202.46 | Valid | 2024-06-10 | 10:36 | 2024-06-10 10:36 | CRM1.2-10% | 1.2 | 1510.1916 | 1.5 | 1881.9646
0003A-1-3 | 1A | CRM1.2-10% | C (STD) | 1.2 | 2024-06-10 10:40 | 1 | 55.001 | 9.2985 | 2.0605 | 2.8244 | 121.1028 | 62.9975 | 1510.1731 | 1510.1684 | 202.46 | Valid | 2024-06-10 | 10:40 | 2024-06-10 10:40 | CRM1.2-10% | 1.2 | 1510.1731 | 1.8 | 2257.0156
0003B-1-1 | 1B | CRM1.5-10% | C (STD) | 1.5 | 2024-06-10 10:44 | 1 | 55.001 | 8.9139 | 2.0366 | 2.7807 | 137.7274 | 66.9971 | 1881.3475 | 1881.9646 | 202.46 | Valid | 2024-06-10 | 10:44 | 2024-06-10 10:44 | CRM1.5-10% | 1.5 | 1881.3475
0003B-1-2 | 1B | CRM1.5-10% | C (STD) | 1.5 | 2024-06-10 10:48 | 1 | 55.001 | 8.6577 | 2.0329 | 2.8249 | 136.9716 | 66.9971 | 1881.4823 | 1881.9646 | 202.46 | Valid | 2024-06-10 | 10:48 | 2024-06-10 10:48 | CRM1.5-10% | 1.5 | 1881.4823
0003B-1-5 | 1B | CRM1.5-10% | C (STD) | 1.5 | 2024-06-10 11:01 | 1 | 55.0003 | 8.5905 | 1.9995 | 2.7384 | 136.77 | 66.9971 | 1883.064 | 1881.9646 | 202.46 | Valid | 2024-06-10 | 11:01 | 2024-06-10 11:01 | CRM1.5-10% | 1.5 | 1883.064
0003C-1-1 | 1C | CRM1.8-10% | C (STD) | 1.8 | 2024-06-10 11:05 | 1 | 55.0003 | 8.8445 | 2.0731 | 2.7937 | 150.4917 | 69.9971 | 2256.0658 | 2257.0156 | 101.1027 | Valid | 2024-06-10 | 11:05 | 2024-06-10 11:05 | CRM1.8-10% | 1.8 | 2256.0658
0003C-1-2 | 1C | CRM1.8-10% | C (STD) | 1.8 | 2024-06-10 11:10 | 1 | 55.0003 | 8.8268 | 2.1304 | 2.8904 | 146.9256 | 70.9971 | 2258.4767 | 2257.0156 | 101.1027 | Valid | 2024-06-10 | 11:10 | 2024-06-10 11:10 | CRM1.8-10% | 1.8 | 2258.4767
0003C-1-3 | 1C | CRM1.8-10% | C (STD) | 1.8 | 2024-06-10 11:14 | 1 | 55.0003 | 8.4416 | 1.9632 | 2.7524 | 145.9177 | 69.9971 | 2256.5043 | 2257.0156 | 101.1027 | Valid | 2024-06-10 | 11:14 | 2024-06-10 11:14 | CRM1.8-10% | 1.8 | 2256.5043
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | 1st CRM
[23 empty] | End Time | Slope1 | Intercept1 | R2
[23 empty] | 11:01 | 0.00080337 | -0.012789 | 0.99999
Last CRM
[23 empty] | End Time | Slope2 | Intercept2 | R2
[23 empty] | 16:33 | 0.0008104 | -0.020566 | 1
Drift Correction Parameters
[23 empty] | dTime | dSlope | dIntercept
[23 empty] | 5:32 | 7.0281e-06 | -0.0077761
Sample ID | Sample # In Batch | Sample Name | Port | Volume (ml) | Start Time | Attempt # | Cell Temp (C) | H2O (‰) | Initial Baseline (ppm) | Final Baseline (ppm) | Peak (ppm) | Integration Time (sec) | Area (net) | Area (net avg) | DIC (uM) | Status | Mid-Day: | [5 empty] | Volume | Area1 | Stdev |  | Volume | Area1 | Area2 | Area3 | Difference in Area (A1-A3)
0025S-1-1 | Single | CRM1.2-10% | C (STD) | 1.2 | 2024-06-10 16:25 | 1 | 55.0003 | 7.7194 | 1.8392 | 2.6036 | 124.472 | 62.9971 | 1506.0153 | 1506.0153 | 177.103 | Valid | 2024-06-10 | 16:25 | 2024-06-10 16:25 | CRM1.2-10% | 1.2 | 1506.0153 | 1.2 | 1506.0153 |  |  | 1.2 | 1510.1684 | 1506.0153 | 1506.0153 | 4.1531
0026S-1-1 | Single | CRM1.5-10% | C (STD) | 1.5 | 2024-06-10 16:29 | 1 | 55.0003 | 7.8733 | 1.8517 | 2.5964 | 135.9294 | 66.9971 | 1876.5378 | 1876.5378 | 176.5904 | Valid | 2024-06-10 | 16:29 | 2024-06-10 16:29 | CRM1.5-10% | 1.5 | 1876.5378 | 1.5 | 1876.5378 | 0 |  | 1.5 | 1881.9646 | 1876.5378 | 1876.5378 | 5.4269
0027S-1-1 | Single | CRM1.8-10% | C (STD) | 1.8 | 2024-06-10 16:33 | 1 | 55.001 | 8.0816 | 1.9312 | 2.7259 | 148.3047 | 68.9971 | 2246.39 | 2246.39 | 176.196 | Valid | 2024-06-10 | 16:33 | 2024-06-10 16:33 | CRM1.8-10% | 1.8 | 2246.39 | 1.8 | 2246.39 | 0 |  | 1.8 | 2257.0156 | 2246.39 | 2246.39 | 10.6256
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
Sample ID | Sample # In Batch | Sample Name | Port | Volume (ml) | Start Time | Attempt # | Cell Temp (C) | H2O (‰) | Initial Baseline (ppm) | Final Baseline (ppm) | Peak (ppm) | Integration Time (sec) | Area (net) | Area (net avg) | DIC (uM) | Status | Evening CRM: | [5 empty] | Volume | Area1 | Stdev
Evening CRM here: | [16 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | 1.2 | 0 | 0
Columns A - Q from Raw sheet | [16 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | 1.5 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | 1.8 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
Samples
Sample ID | Sample # In Batch | Sample Name | Port | Volume (ml) | Start Time | Attempt # | Cell Temp (C) | H2O (‰) | Initial Baseline (ppm) | Final Baseline (ppm) | Peak (ppm) | Integration Time (sec) | Area (net) | Area (net avg) | DIC (uM) | Status | Date | Time | Date/Time | Sample | Volume (ml) | Area | CRM Volume (ml) | Drift corrected CRM V (ml) | DIC Content (1x10-9 mol) | DIC (umolL-1) | Rm Temp | Salinity | Density (kgL-1) | DIC' (umolkg-1) | Vol. HgCl2 (uL) | Vol. sample (mL) | HgCl2 CF | DICc (umolkg-1) | DIC_avg (umolkg-1) | DIC_stdev (umolkg-1) | n = | DIC_avg (umolL-1) | DIC_stdev (umolL-1) | n = | Sample
0006S-1-2 | 2 | DIT_04_BC1 | D | 1.5 | 2024-06-10 14:04 | 1 | 55.001 | 7.8954 | 1.8355 | 2.6324 | 173.8777 | 68.9968 | 2397.5996 | 2395.4245 | 225.4761 | Valid | 2024-06-10 | 14:04 | 2024-06-10 14:04 | DIT_04_BC1 | 1.5 | 2397.5996 | 1.9134 | 1.9184 | 388.3932 | 258.9288 | 22 | 1.65 | 0.99903 | 259.1813 | 0 | 250 | 1 | 259.1813 | 263.0469 | 8.1763 |  | 263.0469 | 8.1763 |  | BC
0006S-1-3 | 2 | DIT_04_BC1 | D | 1.5 | 2024-06-10 14:08 | 1 | 55.001 | 7.8213 | 1.8204 | 2.6055 | 171.1806 | 68.9971 | 2394.2752 | 2395.4245 | 225.4761 | Valid | 2024-06-10 | 14:08 | 2024-06-10 14:08 | DIT_04_BC1 | 1.5 | 2394.2752 | 1.9107 | 1.9158 | 387.873 | 258.582 | 22 | 1.65 | 0.99903 | 258.8342 | 0 | 250 | 1 | 258.8342
0006S-1-4 | 2 | DIT_04_BC1 | D | 1.5 | 2024-06-10 14:12 | 1 | 55.0003 | 7.8372 | 1.8306 | 2.5746 | 170.9341 | 68.9971 | 2394.3986 | 2395.4245 | 225.4761 | Valid | 2024-06-10 | 14:12 | 2024-06-10 14:12 | DIT_04_BC1 | 1.5 | 2394.3986 | 1.9108 | 1.916 | 387.9164 | 258.611 | 22 | 1.65 | 0.99903 | 258.8631 | 0 | 250 | 1 | 258.8631
0013S-1-1 | Single | DIT_04_BC2 | D | 1.5 | 2024-06-10 15:25 | 1 | 55.0003 | 7.7321 | 1.8695 | 2.6436 | 181.4245 | 68.9971 | 2542.4255 | 2542.4255 | 239.3255 | Valid | 2024-06-10 | 15:25 | 2024-06-10 15:25 | DIT_04_BC2 | 1.5 | 2542.4255 | 2.0297 | 2.0377 | 412.5613 | 275.0409 | 22 | 1.65 | 0.99903 | 275.309 | 0 | 250 | 1 | 275.309
0019S-1-1 | Single | DIT_04_BC3 | D | 1.5 | 2024-06-10 15:55 | 1 | 55.001 | 8.2149 | 1.9149 | 2.7068 | 184.3811 | 68.9971 | 2532.9923 | 2532.9923 | 238.4368 | Valid | 2024-06-10 | 15:55 | 2024-06-10 15:55 | DIT_04_BC3 | 1.5 | 2532.9923 | 2.0221 | 2.031 | 411.2004 | 274.1336 | 22 | 1.65 | 0.99903 | 274.4009 | 0 | 250 | 1 | 274.4009
0008S-1-1 | Single | DIT_04_BL1 | E | 1.5 | 2024-06-10 15:00 | 1 | 55.001 | 8.2063 | 1.8658 | 2.616 | 205.3482 | 70.9971 | 2849.1845 | 2849.1845 | 268.2261 | Valid | 2024-06-10 | 15:00 | 2024-06-10 15:00 | DIT_04_BL1 | 1.5 | 2849.1845 | 2.2762 | 2.285 | 462.6159 | 308.4106 | 22 | 1.65 | 0.99903 | 308.7113 | 0 | 250 | 1 | 308.7113 | 323.9949 | 13.9847 |  | 323.9949 | 13.9847 |  | BL
0014S-1-1 | Single | DIT_04_BL2 | E | 1.5 | 2024-06-10 15:30 | 1 | 55.0003 | 7.8629 | 1.9433 | 2.6825 | 220.1737 | 70.9971 | 3098.8496 | 3098.8496 | 291.7477 | Valid | 2024-06-10 | 15:30 | 2024-06-10 15:30 | DIT_04_BL2 | 1.5 | 3098.8496 | 2.4767 | 2.4881 | 503.7359 | 335.8239 | 22 | 1.65 | 0.99903 | 336.1514 | 0 | 250 | 1 | 336.1514
0020S-1-1 | Single | DIT_04_BL3 | E | 1.5 | 2024-06-10 16:00 | 1 | 55.001 | 8.1832 | 1.9025 | 2.7009 | 216.8325 | 69.9972 | 3014.7405 | 3014.7405 | 283.8236 | Valid | 2024-06-10 | 16:00 | 2024-06-10 16:00 | DIT_04_BL3 | 1.5 | 3014.7405 | 2.4092 | 2.4212 | 490.2049 | 326.8033 | 22 | 1.65 | 0.99903 | 327.1219 | 0 | 250 | 1 | 327.1219
0009S-1-1 | Single | DIT_04_FC1 | F | 1.5 | 2024-06-10 15:05 | 1 | 55.001 | 8.2387 | 1.8719 | 2.6584 | 162.3594 | 67.9971 | 2279.5202 | 2279.5202 | 214.5565 | Valid | 2024-06-10 | 15:05 | 2024-06-10 15:05 | DIT_04_FC1 | 1.5 | 2279.5202 | 1.8185 | 1.8246 | 369.4019 | 246.268 | 22 | 0 | 0.99777 | 246.8176 | 0 | 250 | 1 | 246.8176 | 260.0267 | 11.948 |  | 260.0267 | 11.948 |  | FC
0015S-1-1 | Single | DIT_04_FC2 | F | 1.5 | 2024-06-10 15:35 | 1 | 55.0003 | 7.9073 | 1.86 | 2.6314 | 176.4647 | 68.9972 | 2491.12 | 2491.12 | 234.4919 | Valid | 2024-06-10 | 15:35 | 2024-06-10 15:35 | DIT_04_FC2 | 1.5 | 2491.12 | 1.9885 | 1.9965 | 404.218 | 269.4787 | 22 | 0 | 0.99777 | 270.0801 | 0 | 250 | 1 | 270.0801
0021S-1-1 | Single | DIT_04_FC3 | F | 1.5 | 2024-06-10 16:05 | 1 | 55.001 | 7.9248 | 1.8813 | 2.653 | 172.0715 | 68.9968 | 2427.0623 | 2427.0623 | 228.4568 | Valid | 2024-06-10 | 16:05 | 2024-06-10 16:05 | DIT_04_FC3 | 1.5 | 2427.0623 | 1.937 | 1.9455 | 393.8944 | 262.5963 | 22 | 0 | 0.99777 | 263.1823 | 0 | 250 | 1 | 263.1823
0010S-1-1 | Single | DIT_04_FL1 | G | 1.5 | 2024-06-10 15:10 | 1 | 55.001 | 8.1745 | 1.858 | 2.572 | 134.0849 | 66.9971 | 1873.8154 | 1873.8154 | 176.3339 | Valid | 2024-06-10 | 15:10 | 2024-06-10 15:10 | DIT_04_FL1 | 1.5 | 1873.8154 | 1.4926 | 1.4966 | 303.0062 | 202.0042 | 22 | 0 | 0.99777 | 202.455 | 0 | 250 | 1 | 202.455 | 208.1148 | 7.9788 |  | 208.1148 | 7.9788
0016S-1-1 | Single | DIT_04_FL2 | G | 1.5 | 2024-06-10 15:40 | 1 | 55.0003 | 7.8277 | 1.8576 | 2.6036 | 145.4045 | 66.9971 | 2008.2704 | 2008.2704 | 189.0013 | Valid | 2024-06-10 | 15:40 | 2024-06-10 15:40 | DIT_04_FL2 | 1.5 | 2008.2704 | 1.6006 | 1.6059 | 325.1349 | 216.7566 | 22 | 0 | 0.99777 | 217.2404 | 0 | 250 | 1 | 217.2404 | [6 empty] | FL
0022S-1-1 | Single | DIT_04_FL3 | G | 1.5 | 2024-06-10 16:10 | 1 | 55.001 | 7.5838 | 1.8346 | 2.5929 | 134.6404 | 66.9971 | 1892.6335 | 1892.6335 | 178.1068 | Valid | 2024-06-10 | 16:10 | 2024-06-10 16:10 | DIT_04_FL3 | 1.5 | 1892.6335 | 1.5077 | 1.5128 | 306.2899 | 204.1933 | 22 | 0 | 0.99777 | 204.649 | 0 | 250 | 1 | 204.649
0011S-1-1 | Single | DIT_04_SC1 | H | 1.5 | 2024-06-10 15:15 | 1 | 55.001 | 7.8394 | 1.834 | 2.5602 | 178.58 | 68.9971 | 2463.6916 | 2463.6916 | 231.9078 | Valid | 2024-06-10 | 15:15 | 2024-06-10 15:15 | DIT_04_SC1 | 1.5 | 2463.6916 | 1.9665 | 1.9738 | 399.6078 | 266.4052 | 22 | 3.3 | 1.0003 | 266.3323 | 0 | 250 | 1 | 266.3323 | 277.9087 | 10.0357 |  | 277.9087 | 10.0357
0017S-1-1 | Single | DIT_04_SC2 | H | 1.5 | 2024-06-10 15:45 | 1 | 55.0003 | 7.7386 | 1.8572 | 2.6407 | 187.8756 | 68.9972 | 2617.484 | 2617.484 | 246.397 | Valid | 2024-06-10 | 15:45 | 2024-06-10 15:45 | DIT_04_SC2 | 1.5 | 2617.484 | 2.09 | 2.0991 | 424.9844 | 283.323 | 22 | 3.3 | 1.0003 | 283.2454 | 0 | 250 | 1 | 283.2454
0023S-1-1 | Single | DIT_04_SC3 | H | 1.5 | 2024-06-10 16:15 | 1 | 55.001 | 7.5305 | 1.8591 | 2.5957 | 181.0477 | 69.9968 | 2624.5582 | 2624.5582 | 247.0634 | Valid | 2024-06-10 | 16:15 | 2024-06-10 16:15 | DIT_04_SC3 | 1.5 | 2624.5582 | 2.0957 | 2.1058 | 426.3395 | 284.2264 | 22 | 3.3 | 1.0003 | 284.1485 | 0 | 250 | 1 | 284.1485 | [6 empty] | SC
0012S-1-1 | Single | DIT_04_SL1 | I | 1.5 | 2024-06-10 15:20 | 1 | 55.001 | 7.689 | 1.8433 | 2.6084 | 184.1043 | 68.9972 | 2599.646 | 2599.646 | 244.7164 | Valid | 2024-06-10 | 15:20 | 2024-06-10 15:20 | DIT_04_SL1 | 1.5 | 2599.646 | 2.0757 | 2.0839 | 421.9008 | 281.2672 | 22 | 3.3 | 1.0003 | 281.1902 | 0 | 250 | 1 | 281.1902 | 298.9238 | 15.4217 |  | 298.9238 | 15.4217
0018S-1-1 | Single | DIT_04_SL2 | I | 1.5 | 2024-06-10 15:50 | 1 | 55.0003 | 7.9421 | 1.8609 | 2.6287 | 202.5158 | 70.9971 | 2854.8443 | 2854.8443 | 268.7593 | Valid | 2024-06-10 | 15:50 | 2024-06-10 15:50 | DIT_04_SL2 | 1.5 | 2854.8443 | 2.2807 | 2.2914 | 463.9176 | 309.2784 | 22 | 3.3 | 1.0003 | 309.1937 | 0 | 250 | 1 | 309.1937
0024S-1-1 | Single | DIT_04_SL3 | I | 1.5 | 2024-06-10 16:20 | 1 | 55.0003 | 7.6305 | 1.8791 | 2.6671 | 203.8744 | 69.9971 | 2827.797 | 2827.797 | 266.2111 | Valid | 2024-06-10 | 16:20 | 2024-06-10 16:20 | DIT_04_SL3 | 1.5 | 2827.797 | 2.259 | 2.2706 | 459.7071 | 306.4714 | 22 | 3.3 | 1.0003 | 306.3875 | 0 | 250 | 1 | 306.3875
Formulas:
Acid batch: = INT([Date/Time])
Date/Time = [Start Time]

## Summary
DIC_avg (umolkg-1) | DIC_stdev (umolkg-1) | n = | DIC_avg (umolL-1) | DIC_stdev (umolL-1) | n = | Sample
263.0507 | 8.1722 |  | 263.0507 | 8.1722 |  | BC
323.9793 | 13.9847 |  | 323.9793 | 13.9847 |  | BL
260.0297 | 11.9431 |  | 260.0297 | 11.9431 |  | FC
208.1297 | 7.9755 |  | 208.1297 | 7.9755 |  | FL
277.9073 | 10.0341 |  | 277.9073 | 10.0341 |  | SC
298.9187 | 15.421 |  | 298.9187 | 15.421 |  | SL