## Raw
Drop raw data here, then select column A, go to Data, Text to columns, and diliminate by tab/ semicolon to separate data into a useable form.

## processed
Areas selected for Ave's & SDs
--> scroll to R+ columns to see data processing. | [16 empty] | DIC project: | Testing DIC |  |  |  | CRM Batch | FakeCRM (seawater) |  | CRM Density (kgL-1) | 1.0222 |  | Drift Correction Calculations
[17 empty] | Run date: | MM/DD/YYYY |  |  |  | CRM DIC (umolkg-1) | 2105 |  | CRM DIC (umolL-1) | 2151.7587
[17 empty] | Operator: | MCR |  |  |  | CRM Salinity | 32
[17 empty] | Acid batch: | Date made on jar |  |  |  | Temperature (Avg_Rm) | 21
[17 empty] | Processed by: | MCR
Calibration data (CRMs) | [16 empty] | Morning CRM:
Sample ID | Sample # In Batch | Sample Name | Port | Volume (ml) | Start Time | Attempt # | Cell Temp (C) | H2O (‰) | Initial Baseline (ppm) | Final Baseline (ppm) | Peak (ppm) | Integration Time (sec) | Area (net) | Area (net avg) | DIC (uM) | Status | Date | Time | Date/Time | Sample | Volume (ml) | Area | Volume | Area1 | Stdev
Morning CRM data here: | [16 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | 1.2 | 0 | 0
Columns A - Q from Raw sheet | [16 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | 1.5 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | 1.8 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | 1st CRM
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | End Time | Slope1 | Intercept1 | R2
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | 0:00 | #DIV/0! | #DIV/0! | #DIV/0!
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | Last CRM
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | End Time | Slope2 | Intercept2 | R2
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | 0:00 | #DIV/0! | #DIV/0! | #DIV/0!
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | Drift Correction Parameters
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | dTime | dSlope | dIntercept
[23 empty] | 0:00 | #DIV/0! | #DIV/0!
Sample ID | Sample # In Batch | Sample Name | Port | Volume (ml) | Start Time | Attempt # | Cell Temp (C) | H2O (‰) | Initial Baseline (ppm) | Final Baseline (ppm) | Peak (ppm) | Integration Time (sec) | Area (net) | Area (net avg) | DIC (uM) | Status | Mid-Day: | [5 empty] | Volume | Area1 | Stdev |  | Volume | Area1 | Area2 | Area3 | Difference in Area (A1-A3)
Mid-day CRM here: | [16 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | 1.2 |  |  |  | 1.2 | 0 | 0 | 0 | 0
Columns A - Q from Raw sheet | [16 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | 1.5 |  |  |  | 1.5 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | 1.8 |  |  |  | 1.8 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
Sample ID | Sample # In Batch | Sample Name | Port | Volume (ml) | Start Time | Attempt # | Cell Temp (C) | H2O (‰) | Initial Baseline (ppm) | Final Baseline (ppm) | Peak (ppm) | Integration Time (sec) | Area (net) | Area (net avg) | DIC (uM) | Status | Evening CRM: | [5 empty] | Volume | Area1 | Stdev
Evening CRM here: | [16 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | 1.2 | 0 | 0
Columns A - Q from Raw sheet | [16 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | 1.5 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | 1.8 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0
Samples
Sample ID | Sample # In Batch | Sample Name | Port | Volume (ml) | Start Time | Attempt # | Cell Temp (C) | H2O (‰) | Initial Baseline (ppm) | Final Baseline (ppm) | Peak (ppm) | Integration Time (sec) | Area (net) | Area (net avg) | DIC (uM) | Status | Date | Time | Date/Time | Sample | Volume (ml) | Area | CRM Volume (ml) | Drift corrected CRM V (ml) | DIC Content (1x10-9 mol) | DIC (umolL-1) | Rm Temp | Salinity | Density (kgL-1) | DIC' (umolkg-1) | Vol. HgCl2 (uL) | Vol. sample (mL) | HgCl2 CF | DICc (umolkg-1) | DIC_avg (umolkg-1) | DIC_stdev (umolkg-1) | n = | DIC_avg (umolL-1) | DIC_stdev (umolL-1) | n = | Sample
Copy and paste: | [16 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Best estimate of water temperature in the lab at the time the sample was run | Known salinity | #VALUE! | #DIV/0! | 100 | 250 | 1.0004 | #DIV/0!
Columns A - Q from Raw sheet | [15 empty] | ---> | 0 | 0:00 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | 0.99984 | #DIV/0! |  |  | #DIV/0! | #DIV/0!
Starting with the first sample under the last C(STD) CRM row | [15 empty] | See where these formulae end | 0 | 0:00 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | 0.99984 | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | 0 | 0
[16 empty] | If you have more samples than in the processing log, simply drag the columns to the right down to match the length | 0 | 0:00 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | 0.99984 | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[16 empty] | If you have too many, delete the extra stuff to the right | 0 | 0:00 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | 0.99984 | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | 0.99984 | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | 0.99984 | #DIV/0! |  |  | #DIV/0! | #DIV/0!
[17 empty] | 0 | 0:00 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | 0.99984 | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | 0 | 0
Formulas:
Operator: = INT([Date/Time])
Date/Time = [Start Time]

## Summary
DIC_avg (umolkg-1) | DIC_stdev (umolkg-1) | n = | DIC_avg (umolL-1) | DIC_stdev (umolL-1) | n = | Sample
Fill in from Processed Tab, AJ-AP, summary lines